Tables of Experimental Conditions and Results

The headings of the tables have the following meanings:

“Side v” means that the gas or mixture under investigation is filled into the “variable” side of the apparatus, i.e. the side with the additional variable volume, which is changed to equilibrate the pressure in both sides of the apparatus at the end of the measurements.

Correspondingly “Side c” means that the gas or mixture under investigation is filled into the “constant” side of the apparatus.

“Start height” means the reading of a micrometer screw (which changes the variable volume in the case of the measurements at 296.15K) or the starting height of a mercury column in a capillary (in the case of the high temperature measurements) at the beginning of the measurement, and “End height” means the corresponding positions at the end of the measurement.

“Pressure” is the pressure of the gas at the beginning of the measurement.

(The reading of a mercury manometer is corrected to 0 °C.)

“B” is the second virial coefficient of the pure gas. In the case of mixtures “Bm” is the second virial coefficient of the mixture with the given mole fraction, “B12” is the corresponding interaction virial coefficient.

# Pure gases

## Methane (CH4)

Table 1.1: Measurements methane at 23 °C (296,15 K)

| Side | Start height [mm] | End height [mm] | Pressure [Torr] | B [cm3/mol] |
| --- | --- | --- | --- | --- |
| v | 1,0007 | 1,2673 | 485,2 | -43,2 |
| v | 0,9999 | 1,2101 | 415,4 | -42,7 |
| v | 1,0000 | 1,3263 | 569,2 | -43,0 |
| v | 1,0015 | 1,2300 | 437,9 | -42,7 |
| c | 1,5401 | 1,5358 | 569,2 | -43,5 |
| c | 1,4346 | 1,4345 | 437,5 | -42,8 |
| c | 1,3551 | 1,3557 | 336,8 | -42,4 |

Table 1.2: Measurements methane at 80 °C (353,15 K)

| Side | Start height [mm] | End height [mm] | Pressure [Torr] | B [cm3/mol] |
| --- | --- | --- | --- | --- |
| c | 478,8 | 637,9 | 345,6 | -24,5 |
| c | 478,8 | 637,7 | 345,6 | -24,7 |
| c | 487,4 | 643,7 | 325,7 | -24,6 |
| c | 485,4 | 642,1 | 326,2 | -24,8 |
| c | 439,1 | 605,8 | 402,4 | -24,4 |
| c | 440,5 | 606,6 | 402,4 | -25,2 |
| v | 319,3 | 485,8 | 487,1 | -24,7 |
| v | 320,1 | 486,3 | 487,1 | -25,1 |
| v | 559,2 | 693,2 | 278,4 | -26,6 |
| v | 561,2 | 694,0 | 278,4 | -25,9 |
| v | 350,1 | 512,0 | 471,2 | -24,7 |
| v | 349,3 | 511,1 | 471,2 | -24,5 |

Table 1.3: Measurements methane at 190 °C (463,15 K)

| Side | Start height [mm] | End height [mm] | Pressure [Torr] | B [cm3/mol] |
| --- | --- | --- | --- | --- |
| c | 230,4 | 531,1 | 502,0 | -5,3 |
| c | 452,8 | 700,2 | 437,3 | -4,9 |
| c | 647,6 | 847,4 | 330,7 | -4,7 |
| v | 459,6 | 691,2 | 524,4 | -4,7 |
| v | 654,7 | 841,4 | 451,2 | -5,2 |
| v | 697,8 | 875,4 | 369,6 | -4,9 |

## Tetrafluoromethane (CF4)

Table 1.4: Measurements Tetrafluoromethane at 23 °C (296,15 K)

| Side | Start height [mm] | End height [mm] | Pressure [Torr] | B [cm3/mol] |
| --- | --- | --- | --- | --- |
| c | 2,2005 | 2,2020 | 630,8 | -90,4 |
| c | 2,0337 | 2,0540 | 523,1 | -90,6 |
| c | 2,2259 | 2,2532 | 630,8 | -90,3 |
| c | 1,9795 | 2,0007 | 492,3 | -90,5 |
| c | 1,7735 | 1,7912 | 378,7 | -90,0 |
| v | 1,0014 | 1,9583 | 630,8 | -90,7 |
| v | 0,9997 | 1,5944 | 415,4 | -90,5 |
| v | 1,0014 | 1,4461 | 323,1 | -90,7 |
| v | 1,0007 | 1,3165 | 248,5 | -89,8 |
| v | 0,9991 | 1,2202 | 191,2 | -90,1 |

Table 1.5: Measurements Tetrafluoromethane at 80 °C (353,15 K)

| Side | Start height [mm] | End height [mm] | Pressure [Torr] | B [cm3/mol] |
| --- | --- | --- | --- | --- |
| c | 403,6 | 602,4 | 396,4 | -53,5 |
| c | 579,9 | 752,1 | 407,0 | -52,3 |
| c | 588,5 | 758,1 | 393,5 | -52,6 |
| c | 571,6 | 745,2 | 436,0 | -54,2 |
| v | 668,4 | 774,0 | 352,0 | -53,5 |
| v | 591,5 | 707,6 | 364,2 | -52,4 |
| v | 622,2 | 731,9 | 390,5 | -52,7 |
| v | 632,7 | 743,3 | 350,6 | -52,7 |
| v | 483,8 | 608,8 | 517,5 | -54,1 |
| v | 650,8 | 750,5 | 496,5 | -54,2 |
| v | 628,7 | 729,9 | 527,0 | -54,2 |
| c | 584,9 | 762,3 | 518,0 | -53,8 |
| c | 714,1 | 865,9 | 445,8 | -53,8 |
| c | 497,1 | 683,3 | 423,3 | -52,9 |

Table 1.6: Measurements Tetrafluoromethane at 190 °C (463,15 K)

| Side | Start height [mm] | End height [mm] | Pressure [Torr] | B [cm3/mol] |
| --- | --- | --- | --- | --- |
| c | 351,2 | 641,1 | 550,8 | -14,3 |
| c | 561,1 | 794,9 | 402,9 | -13,8 |
| c | 414,3 | 686,0 | 470,2 | -13,6 |
| v | 472,0 | 686,2 | 512,0 | -14,1 |
| v | 633,4 | 814,2 | 397,4 | -13,9 |
| v | 735,6 | 896,5 | 297,8 | -13,9 |

## Trifluoromethane (CHF3)

Table 1.7: Measurements Trifluoromethane at 23 °C (296,15 K)

| Side | Start height [mm] | End height [mm] | Pressure [Torr] | B [cm3/mol] |
| --- | --- | --- | --- | --- |
| v | 0,9994 | 3,2162 | 630,8 | -192,9 |
| v | 1,0006 | 2,6826 | 485,2 | -192,8 |
| v | 1,0002 | 2,2749 | 373,2 | -193,3 |
| c | 3,4157 | 3,4206 | 600,0 | -193,3 |
| c | 2,8763 | 2,8863 | 461,5 | -192,5 |
| c | 3,5357 | 3,5406 | 630,8 | -193,4 |
| c | 2,9706 | 2,9805 | 485,2 | -192,8 |

Table 1.8: Measurements Trifluoromethane at 80 °C (353,15 K)

| Side | Start height [mm] | End height [mm] | Pressure [Torr] | B [cm3/mol] |
| --- | --- | --- | --- | --- |
| c | 631,6 | 829,2 | 415,4 | -122,7 |
| c | 585,9 | 774,1 | 304,3 | -122,8 |
| v | 510,0 | 589,3 | 505,0 | -122,1 |
| v | 708,6 | 767,0 | 433,8 | -122,7 |
| v | 664,8 | 748,9 | 308,3 | -122,8 |
| c | 599,5 | 817,9 | 521,0 | -123,0 |
| c | 611,2 | 810,9 | 403,4 | -122,2 |
| c | 594,5 | 782,5 | 309,8 | -122,2 |
| v | 655,8 | 711,5 | 508,0 | -122,4 |
| v | 677,4 | 744,7 | 409,4 | -122,9 |
| v | 686,0 | 762,5 | 337,7 | -123,0 |

Table 1.9: Measurements Trifluoromethane at 190 °C (463,15 K)

| Side | Start height [mm] | End height [mm] | Pressure [Torr] | B [cm3/mol] |
| --- | --- | --- | --- | --- |
| c | 473,6 | 746,9 | 425,3 | -56,4 |
| c | 629,8 | 863,2 | 391,0 | -56,0 |
| c | 510,7 | 770,7 | 371,5 | -55,9 |
| v | 519,7 | 700,7 | 527,4 | -56,1 |
| v | 557,4 | 737,8 | 426,3 | -56,1 |
| v | 482,5 | 687,1 | 348,6 | -56,0 |

## Difluoromethane (CH2F2)

Table 1.10: Measurements Difluoromethane at 23 °C (296,15 K)

| Side | Start height [mm] | End height [mm] | Pressure [Torr] | B [cm3/mol] |
| --- | --- | --- | --- | --- |
| v | 0,9939 | 4,7595 | 646,2 | -309,8 |
| v | 0,9955 | 3,8639 | 497,0 | -309,6 |
| v | 0,9950 | 3,1773 | 382,3 | -309,6 |
| c | 3,9992 | 3,1017 | 615,4 | -310,7 |
| c | 3,9983 | 3,9591 | 473,4 | -309,3 |
| c | 3,3914 | 3,4359 | 364,1 | -308,1 |
| c | 3,9998 | 3,0051 | 630,8 | -311,1 |
| c | 3,9986 | 3,8906 | 485,2 | -309,2 |

Table 1.11: Measurements Difluoromethane at 80 °C (353,15 K)

| Side | Start height [mm] | End height [mm] | Pressure [Torr] | B [cm3/mol] |
| --- | --- | --- | --- | --- |
| c | 435,5 | 737,6 | 517,0 | -194,7 |
| c | 266,8 | 571,5 | 420,4 | -194,2 |
| c | 451,3 | 699,5 | 319,3 | -193,9 |
| v | 323,5 | 364,7 | 563,3 | -195,0 |
| v | 573,6 | 615,0 | 402,4 | -194,7 |
| v | 747,1 | 784,6 | 312,3 | -196,1 |
| v | 624,8 | 629,9 | 510,5 | -194,4 |
| v | 612,9 | 643,6 | 416,9 | -194,1 |
| v | 758,8 | 769,7 | 405,4 | -195,0 |
| c | 258,5 | 587,4 | 508,5 | -194,6 |
| c | 450,8 | 722,1 | 410,4 | -195,0 |
| c | 427,9 | 684,9 | 342,2 | -195,2 |

Table 1.12: Measurements Difluoromethane at 190 °C (463,15 K)

| Side | Start height [mm] | End height [mm] | Pressure [Torr] | B [cm3/mol] |
| --- | --- | --- | --- | --- |
| c | 411,4 | 733,8 | 518,0 | -96,1 |
| c | 542,8 | 822,7 | 436,3 | -95,9 |
| c | 703,7 | 938,0 | 383,5 | -96,1 |
| v | 513,8 | 663,8 | 582,7 | -95,8 |
| v | 469,3 | 647,7 | 447,2 | -96,0 |
| v | 694,1 | 822,6 | 420,4 | -96,2 |

## Fluoromethane (CH3F)

Table 1.13: Measurements Fluoromethane at 23 °C (296,15 K)

| Side | Start height [mm] | End height [mm] | Pressure [Torr] | B [cm3/mol] |
| --- | --- | --- | --- | --- |
| c | 3,3443 | 3,3803 | 523,1 | -212,1 |
| c | 2,8246 | 2,8597 | 402,4 | -211,6 |
| c | 2,4632 | 2,4759 | 323,1 | -211,5 |
| c | 2,1451 | 2,1593 | 248,5 | -210,7 |
| c | 3,8056 | 3,8025 | 638,5 | -212,8 |
| c | 3,1750 | 3,1822 | 491,1 | -211,9 |
| c | 2,2015 | 2,2199 | 261,5 | -210,2 |
| v | 0,9924 | 3,4789 | 638,5 | -212,1 |
| v | 0,9959 | 2,8880 | 491,1 | -212,1 |
| v | 0,9973 | 2,4292 | 377,8 | -211,7 |
| v | 0,9935 | 3,5160 | 646,2 | -212,4 |
| v | 0,9948 | 2,9111 | 497,0 | -212,3 |
| v | 0,9972 | 1,8432 | 230,8 | -213,0 |

Table 1.14: Measurements Fluoromethane at 80 °C (353,15 K)

| Side | Start height [mm] | End height [mm] | Pressure [Torr] | B [cm3/mol] |
| --- | --- | --- | --- | --- |
| c | 325,8 | 593,4 | 513,0 | -138,3 |
| c | 558,3 | 771,5 | 408,7 | -138,0 |
| c | 537,2 | 735,8 | 300,8 | -138,6 |
| v | 421,8 | 510,5 | 424,3 | -124,8 |
| v | 681,5 | 744,7 | 406,4 | -138,0 |
| v | 791,5 | 850,0 | 321,7 | -137,7 |
| v | 556,9 | 619,9 | 534,9 | -137,9 |
| v | 608,5 | 680,1 | 422,3 | -137,1 |
| v | 771,9 | 830,4 | 341,7 | -137,7 |
| c | 253,3 | 535,6 | 530,4 | -138,3 |
| c | 565,0 | 779,2 | 423,3 | -138,3 |
| c | 550,0 | 750,9 | 325,7 | -138,2 |

Table 1.15: Measurements Fluoromethane at 190 °C (463,15 K)

| Side | Start height [mm] | End height [mm] | Pressure [Torr] | B [cm3/mol] |
| --- | --- | --- | --- | --- |
| c | 563,5 | 824,7 | 512,0 | -69,7 |
| c | 489,4 | 760,7 | 434,8 | -70,3 |
| c | 700,2 | 922,2 | 437,3 | -69,7 |
| v | 493,1 | 680,3 | 513,0 | -69,7 |
| v | 362,3 | 586,5 | 441,3 | -69,4 |
| v | 679,7 | 826,4 | 471,6 | -70,2 |

# Mixtures

## Methane - Tetrafluoromethane (CH4/CF4)

Table 2.16: Measurements Methane - Tetrafluoromethane 23 °C (296,15 K)

| Side | Mole fraction CH4 | Start height [mm] | End height [mm] | Pressure [Torr] | Bm [cm3/mol] | B12 [cm3/mol] |
| --- | --- | --- | --- | --- | --- | --- |
| v | 0,602 | 1,0013 | 1,5246 | 648,1 | -53,5 | -49,3 |
| v | 0,602 | 0,9983 | 1,3826 | 498,5 | -53,9 | -50,3 |
| v | 0,602 | 0,9986 | 1,2751 | 383,5 | -54,1 | -50,5 |
| v | 0,395 | 1,0007 | 1,6503 | 647,7 | -63,6 | -49,8 |
| v | 0,395 | 1,0004 | 1,4835 | 498,2 | -64,0 | -50,7 |
| v | 0,395 | 1,0006 | 1,3542 | 383,2 | -64,3 | -51,2 |
| c | 0,600 | 1,7161 | 1,6568 | 676,9 | -54,8 | -51,8 |
| c | 0,600 | 1,5720 | 1,5287 | 528,0 | -53,9 | -50,0 |
| c | 0,600 | 1,4166 | 1,3969 | 346,2 | -54,1 | -50,3 |
| c | 0,600 | 1,3400 | 1,3271 | 266,3 | -53,4 | -48,8 |
| c | 0,398 | 1,7234 | 1,5490 | 678,1 | -64,0 | -50,9 |
| c | 0,398 | 1,6624 | 1,6119 | 521,6 | -63,7 | -50,3 |
| c | 0,398 | 1,4673 | 1,3700 | 401,2 | -63,5 | -50,0 |

Table 2.17: Measurements Methane - Tetrafluoromethane 80 °C (353,15 K)

| Side | Mole fraction CH4 | Start height [mm] | End height [mm] | Pressure [Torr] | Bm [cm3/mol] | B12 [cm3/mol] |
| --- | --- | --- | --- | --- | --- | --- |
| c | 0,407 | 579,3 | 737,9 | 354,6 | -36,6 | -28,4 |
| v | 0,407 | 649,9 | 759,9 | 524,9 | -36,4 | -28,0 |
| v | 0,407 | 661,8 | 774,4 | 426,8 | -36,9 | -28,9 |
| c | 0,420 | 562,0 | 724,4 | 391,0 | -36,4 | -28,9 |
| c | 0,420 | 747,6 | 877,4 | 307,8 | -36,9 | -26,7 |
| v | 0,420 | 610,1 | 727,8 | 509,5 | -36,2 | -28,4 |
| v | 0,420 | 756,0 | 853,7 | 406,4 | -35,5 | -27,1 |
| v | 0,420 | 646,0 | 766,1 | 318,8 | -36,9 | -29,8 |
| v | 0,406 | 572,8 | 695,3 | 517,0 | -36,2 | -27,5 |
| v | 0,406 | 499,0 | 638,3 | 405,9 | -36,5 | -28,1 |
| c | 0,592 | 630,0 | 782,4 | 500,0 | -31,5 | -28,7 |
| c | 0,592 | 634,2 | 782,4 | 398,9 | -31,5 | -28,8 |
| c | 0,592 | 651,7 | 794,6 | 309,3 | -30,5 | -26,7 |
| c | 0,502 | 473,5 | 654,2 | 511,5 | -33,2 | -27,3 |
| c | 0,502 | 478,9 | 654,3 | 409,9 | -33,6 | -28,2 |
| c | 0,502 | 571,1 | 727,7 | 304,8 | -33,3 | -27,6 |
| v | 0,507 | 562,1 | 689,3 | 509,0 | -33,3 | -27,9 |
| v | 0,507 | 626,4 | 746,3 | 413,4 | -32,8 | -26,9 |
| v | 0,507 | 661,2 | 779,5 | 304,8 | -32,6 | -26,6 |

Table 2.18: Measurements Methane - Tetrafluoromethane 190 °C (463,15 K)

| Side | Mole fraction CH4 | Start height [mm] | End height [mm] | Pressure [Torr] | Bm [cm3/mol] | B12 [cm3/mol] |
| --- | --- | --- | --- | --- | --- | --- |
| c | 0,590 | 627,2 | 840,1 | 518,5 | -4,7 | -1,4 |
| c | 0,590 | 661,5 | 863,8 | 424,3 | -4,8 | -1,5 |
| c | 0,590 | 609,9 | 825,0 | 449,7 | -4,9 | -1,7 |
| v | 0,590 | 402,5 | 643,0 | 520,0 | -4,8 | -1,5 |
| v | 0,590 | 510,1 | 726,6 | 455,7 | -4,7 | -1,4 |
| v | 0,590 | 536,9 | 748,9 | 376,5 | -4,7 | -1,3 |
| c | 0,408 | 214,1 | 528,6 | 547,9 | -6,3 | -1,4 |
| c | 0,408 | 547,7 | 779,5 | 430,3 | -6,4 | -1,5 |
| c | 0,408 | 703,9 | 898,8 | 427,3 | -6,2 | -1,1 |
| v | 0,408 | 247,9 | 520,9 | 563,8 | -6,4 | -1,4 |
| v | 0,408 | 512,2 | 725,8 | 456,2 | -6,4 | -1,5 |
| v | 0,408 | 620,5 | 810,9 | 369,6 | -6,4 | -1,5 |

## Methane - Trifluoromethane (CH4/CHF3)

Table 2.19: Measurements Methane - Trifluoromethane 23 °C (296,15 K)

| Side | Mole fraction CH4 | Start height [mm] | End height [mm] | Pressure [Torr] | Bm [cm3/mol] | B12 [cm3/mol] |
| --- | --- | --- | --- | --- | --- | --- |
| C | 0,399 | 2,1386 | 1,7861 | 677,2 | -107,7 | -65,0 |
| C | 0,600 | 2,1603 | 2,2658 | 646,2 | -77,8 | -65,5 |
| c | 0,600 | 1,9141 | 1,9974 | 497,0 | -77,7 | -65,4 |
| c | 0,600 | 1,7949 | 1,9289 | 380,4 | -77,8 | -65,5 |
| c | 0,398 | 1,9181 | 1,3563 | 676,9 | -107,8 | -64,9 |
| c | 0,398 | 1,6737 | 1,2811 | 476,9 | -107,6 | -64,4 |
| v | 0,599 | 0,9987 | 1,8668 | 678,1 | -77,5 | -64,7 |
| v | 0,599 | 0,9978 | 1,6489 | 521,6 | -78,0 | -65,6 |
| v | 0,599 | 0,9976 | 1,4794 | 401,2 | -78,1 | -66,0 |
| v | 0,400 | 0,9984 | 2,2715 | 686,2 | -107,0 | -63,9 |
| v | 0,400 | 1,0004 | 1,9604 | 524,8 | -107,6 | -65,0 |

Table 2.20: Measurements Methane - Trifluoromethane 80 °C (353,15 K)

| Side | Mole fraction CH4 | Start height [mm] | End height [mm] | Pressure [Torr] | Bm [cm3/mol | B12 [cm3/mol] |
| --- | --- | --- | --- | --- | --- | --- |
| c | 0,501 | 496,6 | 685,8 | 508,0 | -56,4 | -39,2 |
| c | 0,501 | 590,8 | 757,7 | 401,9 | -56,7 | -40,0 |
| c | 0,501 | 731,9 | 870,4 | 312,3 | -56,6 | -39,8 |
| v | 0,496 | 497,1 | 620,4 | 538,9 | -56,9 | -39,2 |
| v | 0,496 | 582,0 | 699,3 | 412,4 | -56,7 | -39,0 |
| v | 0,496 | 572,9 | 694,5 | 366,1 | -56,7 | -38,9 |
| v | 0,408 | 553,3 | 663,4 | 506,5 | -66,0 | -39,1 |
| v | 0,408 | 558,0 | 673,4 | 418,9 | -65,5 | -38,1 |
| v | 0,408 | 772,7 | 860,5 | 329,7 | -65,8 | -38,8 |
| c | 0,409 | 512,0 | 707,3 | 531,9 | -65,7 | -38,6 |
| c | 0,409 | 610,9 | 781,8 | 420,4 | -65,6 | -38,4 |
| c | 0,409 | 565,7 | 736,7 | 331,7 | -65,9 | -39,0 |
| v | 0,592 | 406,4 | 549,1 | 560,8 | -48,0 | -39,0 |
| v | 0,592 | 568,6 | 692,2 | 412,4 | -47,4 | -37,8 |
| v | 0,592 | 756,4 | 852,6 | 375,5 | -48,4 | -40,0 |
| c | 0,592 | 420,4 | 616,9 | 518,5 | -48,1 | -39,2 |
| c | 0,592 | 547,9 | 719,8 | 436,3 | -47,7 | -38,4 |
| c | 0,592 | 648,0 | 799,7 | 350,6 | -47,2 | -37,2 |

Table 2.21: Measurements Methane - Trifluoromethane 190 °C (463,15 K)

| Side | Mole fraction CH4 | Start height [mm] | End height [mm] | Pressure [Torr] | Bm [cm3/mol] | B12 [cm3/mol] |
| --- | --- | --- | --- | --- | --- | --- |
| c | 0,589 | 467,2 | 722,7 | 530,4 | -16,8 | -11,6 |
| c | 0,589 | 548,0 | 782,8 | 496,1 | -17,3 | -12,6 |
| c | 0,589 | 676,1 | 881,1 | 504,0 | -16,9 | -11,9 |
| v | 0,590 | 383,6 | 623,6 | 564,3 | -16,6 | -11,1 |
| v | 0,590 | 646,4 | 828,1 | 447,2 | -17,1 | -12,2 |
| v | 0,590 | 531,7 | 741,3 | 414,4 | -16,6 | -11,2 |
| v | 0,409 | 411,2 | 637,0 | 580,7 | -26,0 | -11,5 |
| v | 0,409 | 427,8 | 654,6 | 472,2 | -26,3 | -12,1 |
| v | 0,409 | 585,9 | 776,2 | 450,2 | -26,3 | -12,2 |
| v | 0,409 | 540,9 | 740,0 | 490,1 | -26,2 | -11,9 |
| c | 0,410 | 547,6 | 791,8 | 544,9 | -25,8 | -11,1 |
| c | 0,410 | 545,7 | 784,9 | 427,3 | -25,7 | -11,1 |
| c | 0,410 | 625,1 | 842,7 | 371,5 | -26,1 | -11,9 |

## Methane - Difluoromethane (CH4/CH2F2)

Table 2.22: Measurements Methane - Difluoromethane 23 °C (296,15 K)

| Side | Mole fraction CH4 | Start height [mm] | End height [mm] | Pressure [Torr] | Bm [cm3/mol] | B12 [cm3/mol] |
| --- | --- | --- | --- | --- | --- | --- |
| v | 0,396 | 0,9925 | 2,8748 | 679,0 | -154,2 | -72,1 |
| v | 0,396 | 0,9964 | 2,4235 | 519,8 | -154,7 | -73,1 |
| v | 0,396 | 0,9962 | 2,0778 | 399,9 | -155,2 | -74,2 |
| v | 0,597 | 0,9957 | 2,1538 | 677,3 | -99,5 | -70,5 |
| v | 0,597 | 0,9951 | 1,8730 | 521,0 | -100,3 | -72,1 |
| v | 0,597 | 0,9970 | 1,6549 | 400,8 | -100,4 | -72,3 |
| c | 0,396 | 2,0697 | 1,0345 | 681,2 | -154,2 | -72,1 |
| c | 0,396 | 1,8446 | 1,0538 | 524,0 | -153,9 | -71,6 |
| c | 0,596 | 2,0280 | 1,6675 | 675,8 | -100,9 | -72,9 |
| c | 0,596 | 1,7421 | 1,4825 | 475,8 | -100,9 | -72,9 |
| v | 0,498 | 0,9942 | 2,4813 | 676,9 | -124,6 | -71,9 |
| v | 0,498 | 0,9948 | 2,1223 | 520,7 | -125,0 | -72,7 |

Table 2.23: Measurements Methane - Difluoromethane 80 °C (353,15 K)

| Side | Mole fraction CH4 | Start height [mm] | End height [mm] | Pressure [Torr] | Bm [cm3/mol] | B12 [cm3/mol] |
| --- | --- | --- | --- | --- | --- | --- |
| c | 0,407 | 424,6 | 654,2 | 527,9 | -94,7 | -45,7 |
| c | 0,407 | 372,9 | 599,4 | 432,3 | -95,0 | -46,3 |
| c | 0,407 | 456,2 | 660,4 | 355,3 | -94,8 | -46,0 |
| v | 0,407 | 506,2 | 600,9 | 534,9 | -94,6 | -45,8 |
| v | 0,407 | 310,6 | 431,3 | 579,2 | -94,1 | -44,8 |
| v | 0,407 | 559,3 | 663,8 | 375,0 | -95,0 | -46,8 |
| v | 0,592 | 630,5 | 728,2 | 544,9 | -63,7 | -46,8 |
| v | 0,592 | 493,6 | 619,3 | 451,2 | -63,3 | -45,9 |
| v | 0,592 | 345,6 | 498,5 | 383,7 | -63,4 | -46,1 |
| c | 0,592 | 551,9 | 737,3 | 523,9 | -63,0 | -45,5 |
| c | 0,592 | 558,9 | 737,4 | 452,7 | -63,5 | -46,6 |
| c | 0,592 | 456,7 | 647,2 | 385,5 | -63,2 | -46,0 |

Table 2.24: Measurements Methane - Difluoromethane 190 °C (463,15 K)

| Side | Mole fraction CH4 | Start height [mm] | End height [mm] | Pressure [Torr] | Bm [cm3/mol] | B12 [cm3/mol] |
| --- | --- | --- | --- | --- | --- | --- |
| c | 0,598 | 504,3 | 756,0 | 548,4 | -25,8 | -17,7 |
| c | 0,598 | 593,1 | 819,7 | 451,2 | -25,9 | -17,9 |
| c | 0,598 | 527,4 | 768,5 | 423,3 | -25,7 | -17,5 |
| v | 0,597 | 498,1 | 707,1 | 551,3 | -25,9 | -17,9 |
| v | 0,597 | 717,5 | 877,3 | 473,6 | -25,6 | -17,3 |
| v | 0,597 | 604,3 | 792,8 | 422,8 | -25,6 | -17,2 |
| v | 0,416 | 462,5 | 669,7 | 523,9 | -42,0 | -17,2 |
| v | 0,416 | 697,2 | 854,5 | 426,3 | -41,9 | -17,2 |
| v | 0,416 | 675,8 | 840,5 | 389,0 | -41,9 | -17,0 |
| c | 0,416 | 468,1 | 739,1 | 518,5 | -41,6 | -16,5 |
| c | 0,416 | 702,2 | 911,0 | 416,4 | -41,8 | -16,8 |
| c | 0,416 | 560,6 | 806,6 | 474,6 | -42,0 | -17,3 |

## Methane - Fluoromethane (CH4/CH3F)

Table 2.25: Measurements Methane - Fluoromethane 23 °C (296,15 K)

| Side | Mole fraction CH4 | Start height [mm] | End height [mm] | Pressure [Torr] | Bm [cm3/mol] | B12 [cm3/mol] |
| --- | --- | --- | --- | --- | --- | --- |
| c | 0,404 | 2,0025 | 1,3907 | 690,8 | -115,8 | -69,4 |
| c | 0,404 | 1,7897 | 1,3216 | 531,4 | -115,5 | -68,8 |
| c | 0,404 | 1,6239 | 1,2696 | 408,7 | -114,5 | -66,7 |
| c | 0,579 | 1,8557 | 1,5118 | 686,2 | -85,9 | -69,6 |
| c | 0,579 | 1,6758 | 1,4179 | 527,8 | -85,1 | -68,0 |
| c | 0,579 | 1,5376 | 1,3385 | 406,0 | -85,1 | -67,9 |
| v | 0,513 | 0,9951 | 2,1264 | 690,8 | -95,7 | -68,3 |
| v | 0,513 | 0,9999 | 1,8568 | 534,0 | -95,5 | -67,9 |
| v | 0,513 | 0,9943 | 1,6296 | 408,7 | -96,0 | -68,9 |
| v | 0,494 | 0,9969 | 2,1765 | 692,7 | -98,9 | -68,3 |
| v | 0,494 | 0,9989 | 1,8907 | 532,8 | -99,2 | -68,8 |
| v | 0,494 | 0,9968 | 1,6589 | 409,9 | -98,8 | -68,1 |

Table 2.26: Measurements Methane - Fluoromethane 80 °C (353,15 K)

| Side | Mole fraction CF4 | Start height [mm] | End height [mm] | Pressure [Torr] | Bm [cm3/mol] | B12 [cm3/mol] |
| --- | --- | --- | --- | --- | --- | --- |
| v | 0,497 | 517,4 | 636,4 | 552,8 | -63,2 | -44,4 |
| v | 0,497 | 690,1 | 788,6 | 434,3 | -63,1 | -44,2 |
| v | 0,497 | 770,3 | 861,5 | 336,2 | -62,6 | -43,1 |
| c | 0,497 | 381,7 | 592,5 | 552,8 | -63,2 | -44,4 |
| c | 0,497 | 591,8 | 759,5 | 407,4 | -63,0 | -44,0 |
| c | 0,497 | 539,1 | 709,1 | 313,8 | -63,2 | -44,3 |
| c | 0,592 | 313,2 | 527,3 | 526,9 | -52,9 | -43,8 |
| c | 0,592 | 602,6 | 764,5 | 420,4 | -52,8 | -43,6 |
| c | 0,592 | 739,6 | 873,7 | 313,8 | -52,7 | -43,4 |
| v | 0,592 | 443,4 | 582,7 | 517,0 | -53,1 | -44,3 |
| v | 0,592 | 624,7 | 739,0 | 422,3 | -52,7 | -43,4 |
| v | 0,592 | 769,9 | 867,0 | 318,8 | -53,7 | -45,6 |
| v | 0,407 | 612,5 | 709,8 | 538,9 | -73,8 | -43,9 |
| v | 0,407 | 682,3 | 777,2 | 425,8 | -74,1 | -44,5 |
| v | 0,407 | 647,2 | 753,2 | 355,6 | -74,4 | -45,3 |
| c | 0,407 | 525,5 | 717,1 | 512,0 | -74,2 | -44,7 |
| c | 0,407 | 683,7 | 842,4 | 421,8 | -74,5 | -45,4 |
| c | 0,407 | 551,9 | 725,5 | 337,7 | -74,4 | -45,2 |

## Tetrafluoromethane - Trifluoromethane (CF4/CHF3)

Table 2.27: Measurements Tetrafluoromethane - Trifluoromethane 23 °C (296,15 K)

| Side | Mole fraction CF4 | Start height [mm] | End height [mm] | Pressure [Torr] | Bm [cm3/mol] | B12 [cm3/mol] |
| --- | --- | --- | --- | --- | --- | --- |
| c | 0,603 | 2,4314 | 2,3498 | 646,9 | -112,45 | -102,7 |
| c | 0,603 | 2,1187 | 2,0623 | 497,6 | -111,44 | -100,6 |
| c | 0,603 | 1,8827 | 1,8426 | 382,8 | -111,05 | -99,7 |
| c | 0,397 | 2,3584 | 1,9550 | 645,0 | -132,96 | -101,4 |
| c | 0,397 | 2,0670 | 1,7584 | 497,6 | -132,50 | -100,4 |
| c | 0,397 | 1,8417 | 1,6036 | 382,8 | -132,50 | -100,4 |
| v | 0,394 | 0,9993 | 2,5080 | 646,2 | -132,53 | -99,7 |
| v | 0,394 | 0,9978 | 2,1371 | 497,0 | -132,84 | -100,4 |
| v | 0,394 | 0,9969 | 1,8502 | 382,3 | -132,86 | -100,4 |
| v | 0,604 | 0,9991 | 2,1529 | 600,4 | -111,95 | -101,8 |
| v | 0,604 | 0,9972 | 1,8685 | 461,8 | -112,82 | -103,6 |
| v | 0,604 | 1,0007 | 1,6475 | 355,3 | -112,14 | -102,2 |

Table 2.28: Measurements Tetrafluoromethane - Trifluoromethane 80 °C (353,15 K)

| Side | Mole fraction CF4 | Start height [mm] | End height [mm] | Pressure [Torr] | Bm [cm3/mol] | B12 [cm3/mol] |
| --- | --- | --- | --- | --- | --- | --- |
| c | 0,500 | 580,5 | 772,3 | 532,9 | -75,5 | -63,0 |
| c | 0,500 | 618,0 | 792,9 | 410,9 | -75,2 | -62,5 |
| c | 0,500 | 662,9 | 822,3 | 325,2 | -75,6 | -63,3 |
| v | 0,500 | 569,6 | 669,4 | 502,5 | -74,5 | -61,1 |
| v | 0,500 | 679,9 | 771,3 | 404,4 | -75,1 | -62,3 |
| v | 0,500 | 605,1 | 716,6 | 314,8 | -75,2 | -62,4 |
| c | 0,406 | 585,0 | 778,0 | 507,0 | -82,2 | -62,6 |
| c | 0,406 | 666,9 | 839,9 | 435,3 | -82,1 | -62,2 |
| c | 0,406 | 687,4 | 845,3 | 310,8 | -81,2 | -60,5 |
| v | 0,405 | 602,7 | 692,3 | 509,0 | -81,6 | -61,1 |
| v | 0,405 | 701,0 | 785,0 | 410,4 | -82,1 | -62,1 |
| v | 0,405 | 697,7 | 791,9 | 311,8 | -82,2 | -62,3 |
| c | 0,590 | 512,2 | 710,5 | 523,9 | -69,8 | -63,3 |
| c | 0,590 | 639,4 | 810,2 | 433,8 | -69,2 | -62,0 |
| c | 0,590 | 526,6 | 705,4 | 310,8 | -68,7 | -61,2 |
| v | 0,590 | 642,5 | 733,7 | 515,0 | -69,5 | -62,6 |
| v | 0,590 | 526,9 | 644,8 | 418,4 | -69,6 | -62,7 |
| v | 0,590 | 674,3 | 777,6 | 308,8 | -70,0 | -63,6 |

Table 2.29: Measurements Tetrafluoromethane - Trifluoromethane 190 °C (463,15 K)

| Side | Mole fraction CF4 | Start height [mm] | End height [mm] | Pressure [Torr] | Bm [cm3/mol] | B12 [cm3/mol] |
| --- | --- | --- | --- | --- | --- | --- |
| c | 0,591 | 638,8 | 863,9 | 512,0 | -24,4 | -23,5 |
| c | 0,591 | 511,6 | 762,6 | 442,8 | -24,9 | -24,7 |
| c | 0,591 | 670,2 | 881,3 | 395,5 | -24,8 | -24,4 |
| v | 0,580 | 513,1 | 713,5 | 505,0 | -24,2 | -22,2 |
| v | 0,580 | 734,1 | 886,6 | 439,3 | -25,6 | -25,2 |
| v | 0,580 | 547,5 | 748,1 | 358,6 | -25,3 | -24,5 |
| v | 0,411 | 612,4 | 786,0 | 518,0 | -32,6 | -23,5 |
| v | 0,411 | 576,3 | 764,2 | 413,4 | -32,2 | -22,6 |
| v | 0,411 | 616,5 | 797,2 | 377,0 | -32,6 | -23,5 |
| c | 0,411 | 549,5 | 800,6 | 523,9 | -31,8 | -21,8 |
| c | 0,411 | 587,0 | 822,8 | 430,8 | -32,5 | -23,4 |
| c | 0,411 | 529,0 | 779,7 | 449,2 | -32,5 | -23,4 |

## Tetrafluoromethane - Difluoromethane (CF4/CH2F2)

Table 2.30: Measurements Tetrafluoromethane - Difluoromethane 23 °C (296,15 K)

| Side | Mole fraction CF4 | Start height [mm] | End height [mm] | Pressure [Torr] | Bm [cm3/mol] | B12 [cm3/mol] |
| --- | --- | --- | --- | --- | --- | --- |
| c | 0,399 | 2,7059 | 2,0208 | 679,0 | -174,0 | -99,6 |
| c | 0,399 | 1,9594 | 1,2840 | 461,5 | -173,9 | -99,3 |
| c | 0,399 | 1,7592 | 1,2432 | 355,0 | -173,8 | -99,2 |
| c | 0,399 | 1,6054 | 1,2151 | 273,1 | -173,2 | -97,9 |
| v | 0,400 | 0,9980 | 3,1526 | 680,0 | -173,7 | -99,5 |
| v | 0,400 | 0,9970 | 2,6386 | 522,8 | -174,3 | -100,8 |
| v | 0,400 | 0,9971 | 2,2406 | 402,1 | -174,4 | -100,9 |
| v | 0,591 | 0,9971 | 2,5820 | 680,4 | -130,8 | -98,1 |
| v | 0,591 | 0,9953 | 2,2001 | 523,4 | -131,5 | -99,5 |
| v | 0,591 | 0,9961 | 1,9073 | 402,6 | -131,9 | -100,3 |
| c | 0,592 | 2,5021 | 2,1736 | 682,7 | -131,7 | -100,3 |
| c | 0,592 | 2,1758 | 1,9248 | 525,1 | -131,8 | -100,6 |
| c | 0,592 | 1,9262 | 1,7384 | 404,0 | -131,6 | -100,2 |

Table 2.31: Measurements Tetrafluoromethane - Difluoromethane 80 °C (353,15 K)

| Side | Mole fraction CF4 | Start height [mm] | End height [mm] | Pressure [Torr] | Bm [cm3/mol] | B12 [cm3/mol] |
| --- | --- | --- | --- | --- | --- | --- |
| c | 0,407 | 311,8 | 568,1 | 510,5 | -107,4 | -62,2 |
| c | 0,407 | 587,6 | 785,5 | 414,4 | -107,8 | -63,2 |
| c | 0,407 | 618,9 | 799,7 | 327,2 | -108,0 | -63,5 |
| v | 0,406 | 335,3 | 447,1 | 527,9 | -107,5 | -62,1 |
| v | 0,406 | 516,8 | 610,9 | 442,3 | -107,7 | -62,5 |
| v | 0,406 | 353,1 | 483,7 | 368,6 | -108,1 | -63,3 |
| v | 0,591 | 436,1 | 549,0 | 537,9 | -81,2 | -62,0 |
| v | 0,591 | 541,9 | 647,8 | 442,3 | -81,7 | -63,3 |
| v | 0,591 | 615,2 | 700,3 | 310,1 | -81,5 | -62,8 |
| c | 0,591 | 314,1 | 552,8 | 519,5 | -81,3 | -62,1 |
| c | 0,591 | 547,5 | 739,5 | 432,8 | -81,3 | -62,2 |
| c | 0,591 | 476,4 | 642,3 | 387,4 | -81,4 | -62,4 |

Table 2.32: Measurements Tetrafluoromethane - Difluoromethane 190 °C (463,15 K)

| Side | Mole fraction CF4 | Start height [mm] | End height [mm] | Pressure [Torr] | Bm [cm3/mol] | B12 [cm3/mol] |
| --- | --- | --- | --- | --- | --- | --- |
| c | 0,409 | 481,5 | 757,9 | 481,4 | -47,9 | -24,8 |
| c | 0,409 | 593,2 | 835,9 | 593,1 | -47,6 | -24,2 |
| c | 0,409 | 690,2 | 903,0 | 353,1 | -47,5 | -24,0 |
| v | 0,411 | 534,2 | 715,7 | 555,8 | -47,0 | -23,5 |
| v | 0,411 | 738,4 | 874,0 | 519,0 | -46,9 | -23,2 |
| v | 0,411 | 639,6 | 806,5 | 417,9 | -47,5 | -24,6 |
| v | 0,603 | 493,0 | 696,3 | 510,0 | -31,6 | -24,1 |
| v | 0,603 | 699,4 | 856,4 | 471,2 | -32,4 | -25,6 |
| v | 0,603 | 687,6 | 850,8 | 413,9 | -32,6 | -26,0 |
| c | 0,604 | 402,4 | 691,2 | 593,7 | -32,0 | -24,8 |
| c | 0,604 | 594,7 | 832,7 | 504,0 | -31,8 | -24,5 |
| c | 0,604 | 584,4 | 822,1 | 458,7 | -31,8 | -24,4 |

## Tetrafluoromethane - Fluoromethane (CF4/CH3F)

Table 2.33: Measurements Tetrafluoromethane - Fluoromethane 23 °C (296,15 K)

| Side | Mole fraction CF4 | Start height [mm] | End height [mm] | Pressure [Torr] | Bm [cm3/mol] | B12 [cm3/mol] |
| --- | --- | --- | --- | --- | --- | --- |
| v | 0,395 | 0,9920 | 2,6289 | 680,0 | -135,17 | -87,5 |
| v | 0,395 | 0,9920 | 2,2218 | 521,9 | -134,62 | -86,3 |
| v | 0,395 | 0,9928 | 1,9125 | 401,5 | -133,71 | -84,4 |
| v | 0,587 | 0,9935 | 2,2866 | 684,6 | -108,45 | -86,5 |
| v | 0,587 | 0,9948 | 1,9745 | 526,6 | -108,81 | -87,3 |
| v | 0,587 | 0,9946 | 1,7335 | 405,1 | -109,39 | -88,5 |
| c | 0,431 | 2,0563 | 1,6733 | 547,0 | -128,53 | -87,2 |
| c | 0,398 | 2,2725 | 1,7343 | 678,8 | -131,86 | -86,2 |
| c | 0,398 | 1,9973 | 1,5943 | 522,2 | -130,86 | -84,1 |
| c | 0,398 | 1,7932 | 1,482 | 401,7 | -132,02 | -86,6 |
| c | 0,595 | 2,2975 | 2,0648 | 684,2 | -109,63 | -88,9 |
| c | 0,595 | 2,0171 | 1,8486 | 526,3 | -108,74 | -87,0 |
| c | 0,595 | 1,8028 | 1,6733 | 404,9 | -109,02 | -87,6 |

Table 2.34: Measurements Tetrafluoromethane - Fluoromethane 80 °C (353,15 K)

| Side | Mole fraction CF4 | Start height [mm] | End height [mm] | Pressure [Torr] | Bm [cm3/mol] | B12 [cm3/mol] |
| --- | --- | --- | --- | --- | --- | --- |
| c | 0,496 | 469,6 | 675,9 | 519,5 | -74,8 | -53,1 |
| c | 0,496 | 425,0 | 630,8 | 436,3 | -75,1 | -53,9 |
| c | 0,496 | 477,0 | 664,7 | 323,7 | -74,9 | -53,5 |
| v | 0,496 | 492,5 | 604,1 | 539,9 | -75,1 | -53,9 |
| v | 0,496 | 433,9 | 561,9 | 460,2 | -75,3 | -54,4 |
| v | 0,496 | 499,8 | 626,8 | 342,2 | -75,1 | -53,9 |
| c | 0,407 | 439,4 | 655,9 | 527,9 | -83,3 | -53,6 |
| c | 0,407 | 378,9 | 595,2 | 424,3 | -83,2 | -53,5 |
| c | 0,407 | 553,6 | 735,5 | 323,7 | -83,8 | -54,8 |
| v | 0,407 | 562,6 | 657,8 | 536,9 | -82,9 | -52,9 |
| v | 0,407 | 510,9 | 622,7 | 451,7 | -83,1 | -53,5 |
| v | 0,407 | 598,5 | 705,7 | 350,6 | -83,2 | -53,7 |

## Trifluoromethane - Difluoromethane (CHF3/CH2F2)

Table 2.35: Measurements Trifluoromethane - Difluoromethane 23 °C (296,15 K)

| Side | Mole fraction CHF3 | Start height [mm] | End height [mm] | Pressure [Torr] | Bm [cm3/mol | B12 [cm3/mol] |
| --- | --- | --- | --- | --- | --- | --- |
| c | 0,594 | 3,9867 | 3,5907 | 681,0 | -242,52 | -255,8 |
| c | 0,594 | 3,3097 | 3,0204 | 522,5 | -241,40 | -253,5 |
| c | 0,594 | 3,0529 | 3,1432 | 386,9 | -241,61 | -253,9 |
| c | 0,397 | 3,9992 | 3,3094 | 679,2 | -266,23 | -257,3 |
| c | 0,397 | 3,7431 | 3,6217 | 522,5 | -265,07 | -254,9 |
| v | 0,400 | 0,9933 | 4,1527 | 640,8 | -264,50 | -254,5 |
| v | 0,400 | 0,9946 | 3,4024 | 492,9 | -264,65 | -254,8 |
| v | 0,400 | 0,9954 | 2,8255 | 379,2 | -264,59 | -254,6 |
| v | 0,592 | 0,9852 | 3,8656 | 641,9 | -242,58 | -255,4 |
| v | 0,592 | 0,9874 | 3,1803 | 493,8 | -242,68 | -255,6 |
| v | 0,592 | 0,9877 | 2,5654 | 361,5 | -242,59 | -255,4 |

Table 2.36: Measurements Trifluoromethane - Difluoromethane 80 °C (353,15 K)

| Side | Mole fraction CHF3 | Start height [mm] | End height [mm] | Pressure [Torr] | Bm [cm3/mol] | B12 [cm3/mol] |
| --- | --- | --- | --- | --- | --- | --- |
| c | 0,408 | 561,1 | 823,9 | 532,4 | -165,5 | -159,2 |
| c | 0,408 | 508,9 | 763,3 | 456,2 | -165,6 | -159,5 |
| c | 0,408 | 507,3 | 739,8 | 354,6 | -165,5 | -159,1 |
| v | 0,408 | 488,9 | 527,2 | 553,3 | -164,6 | -157,4 |
| v | 0,408 | 613,5 | 647,9 | 482,1 | -165,7 | -159,6 |
| v | 0,408 | 523,5 | 597,0 | 512,0 | -165,9 | -160,0 |
| c | 0,592 | 441,1 | 708,6 | 512,0 | -152,3 | -159,3 |
| c | 0,592 | 599,9 | 828,1 | 442,3 | -152,0 | -158,5 |
| c | 0,592 | 658,4 | 862,1 | 368,6 | -152,1 | -158,9 |
| v | 0,592 | 436,9 | 500,1 | 528,4 | -152,2 | -159,0 |
| v | 0,592 | 487,6 | 551,0 | 484,1 | -152,0 | -158,6 |
| v | 0,592 | 501,6 | 593,7 | 327,2 | -152,4 | -159,5 |

Table 2.37: Measurements Trifluoromethane - Difluoromethane 190 °C (463,15 K)

| Side | Mole fraction CHF3 | Start height [mm] | End height [mm] | Pressure [Torr] | Bm [cm3/mol] | B12 [cm3/mol] |
| --- | --- | --- | --- | --- | --- | --- |
| c | 0,409 | 496,7 | 792,1 | 496,8 | -79,9 | -76,5 |
| c | 0,409 | 436,7 | 744,2 | 436,9 | -79,8 | -76,3 |
| c | 0,409 | 476,4 | 764,9 | 448,2 | -79,9 | -76,4 |
| v | 0,408 | 367,3 | 566,4 | 557,3 | -79,4 | -75,3 |
| v | 0,408 | 601,7 | 749,9 | 514,0 | -79,4 | -75,5 |
| v | 0,408 | 634,2 | 780,5 | 465,7 | -80,1 | -76,8 |
| v | 0,604 | 589,8 | 742,0 | 550,3 | -71,7 | -75,7 |
| v | 0,604 | 527,6 | 701,2 | 489,1 | -72,1 | -76,5 |
| v | 0,604 | 697,2 | 832,5 | 473,1 | -72,9 | -78,1 |
| c | 0,600 | 551,8 | 828,1 | 539,4 | -72,1 | -76,0 |
| c | 0,600 | 526,2 | 808,1 | 532,9 | -71,9 | -75,7 |
| c | 0,600 | 618,8 | 868,0 | 437,3 | -72,2 | -76,4 |

## Trifluoromethane - Fluoromethane (CHF3/CH3F)

Table 2.38: Measurements Trifluoromethane - Fluoromethane 23 °C (296,15 K)

| Side | Mole fraction CHF3 | Start height [mm] | End height [mm] | Pressure [Torr] | Bm [cm3/mol] | B12 [cm3/mol] |
| --- | --- | --- | --- | --- | --- | --- |
| v | 0,397 | 0,9946 | 4,0419 | 687,0 | -238,7 | -274,0 |
| v | 0,397 | 0,9952 | 3,3152 | 528,7 | -238,6 | -273,8 |
| v | 0,397 | 0,9953 | 2,7622 | 406,7 | -239,2 | -275,0 |
| c | 0,402 | 4,0046 | 3,6140 | 692,7 | -239,3 | -275,1 |
| c | 0,402 | 3,9996 | 4,3391 | 532,8 | -238,9 | -274,2 |
| c | 0,400 | 3,3235 | 3,5899 | 409,9 | -238,2 | -274,8 |
| c | 0,590 | 3,9999 | 3,6768 | 687,3 | -235,8 | -274,8 |
| c | 0,590 | 3,9805 | 4,3604 | 528,7 | -235,0 | -273,2 |
| c | 0,590 | 3,3058 | 3,5922 | 406,7 | -235,4 | -274,0 |
| v | 0,605 | 0,9985 | 4,0098 | 690,2 | -234,7 | -274,0 |
| v | 0,605 | 0,9995 | 3,2985 | 530,4 | -235,4 | -275,6 |
| v | 0,605 | 0,9976 | 2,7479 | 410,6 | -234,6 | -273,8 |

Table 2.39: Measurements Trifluoromethane - Fluoromethane 80 °C (353,15 K)

| Side | Mole fraction CHF3 | Start height [mm] | End height [mm] | Pressure [Torr] | Bm [cm3/mol] | B12 [cm3/mol] |
| --- | --- | --- | --- | --- | --- | --- |
| c | 0,501 | 509,7 | 768,4 | 508,5 | -146,1 | -161,9 |
| c | 0,501 | 387,2 | 650,1 | 431,3 | -145,9 | -161,6 |
| c | 0,501 | 428,6 | 664,2 | 331,7 | -146,0 | -161,7 |
| v | 0,502 | 432,4 | 495,6 | 519,5 | -146,0 | -161,8 |
| v | 0,502 | 562,0 | 624,7 | 418,4 | -146,3 | -162,4 |
| v | 0,502 | 536,7 | 618,0 | 347,1 | -146,7 | -163,2 |
| c | 0,590 | 444,4 | 718,0 | 536,9 | -144,4 | -162,3 |
| c | 0,590 | 369,6 | 633,6 | 432,3 | -144,9 | -163,3 |
| c | 0,590 | 534,5 | 754,0 | 331,7 | -144,6 | -162,8 |
| v | 0,595 | 613,6 | 642,2 | 554,8 | -144,3 | -162,5 |
| v | 0,595 | 636,0 | 681,3 | 450,7 | -144,2 | -162,1 |
| v | 0,595 | 615,9 | 683,4 | 355,6 | -144,4 | -162,5 |
| v | 0,407 | 611,8 | 642,2 | 540,4 | -147,0 | -161,9 |
| v | 0,407 | 613,5 | 660,4 | 456,2 | -146,9 | -161,7 |
| v | 0,407 | 574,8 | 652,1 | 335,7 | -147,1 | -162,1 |
| c | 0,407 | 502,4 | 774,7 | 571,3 | -147,0 | -161,8 |
| c | 0,407 | 496,6 | 742,9 | 442,3 | -147,5 | -162,9 |
| c | 0,407 | 473,9 | 705,4 | 349,6 | -147,1 | -162,0 |

## Difluoromethane - Fluoromethane (CH2F2/CH3F)

Table 2.40: Measurements Difluoromethane - Fluoromethane 23 °C (296,15 K)

| Side | Mole fraction CF2H2 | Start height [mm] | End height [mm] | Pressure [Torr] | Bm [cm3/mol] | B12 [cm3/mol] |
| --- | --- | --- | --- | --- | --- | --- |
| c | 0,402 | 3,9974 | 3,3453 | 682,3 | -262,4 | -283,9 |
| c | 0,402 | 3,5211 | 3,2196 | 524,9 | -261,4 | -281,9 |
| c | 0,402 | 2,9527 | 2,716 | 403,7 | -261,9 | -282,9 |
| v | 0,400 | 0,9899 | 4,3582 | 689,2 | -261,6 | -282,7 |
| v | 0,400 | 0,9939 | 3,5642 | 530,2 | -261,7 | -282,8 |
| v | 0,400 | 0,9957 | 2,9509 | 407,8 | -261,5 | -282,5 |
| v | 0,588 | 0,9969 | 4,5852 | 682,3 | -280,0 | -282,7 |
| v | 0,588 | 0,9985 | 3,7405 | 524,9 | -280,5 | -283,6 |
| v | 0,588 | 0,9937 | 3,0724 | 403,7 | -280,0 | -282,6 |
| c | 0,599 | 4,3354 | 3,6965 | 692,7 | -281,1 | -282,8 |
| c | 0,599 | 3,8654 | 3,6455 | 532,8 | -281,0 | -282,7 |
| c | 0,599 | 3,2154 | 3,0448 | 409,9 | -280,8 | -282,3 |

Table 2.41: Measurements Difluoromethane - Fluoromethane 80 °C (353,15 K)

| Side | Mole fraction CF2H2 | Start height [mm] | End height [mm] | Pressure [Torr] | Bm [cm3/mol] | B12 [cm3/mol] |
| --- | --- | --- | --- | --- | --- | --- |
| c | 0,503 | 376,3 | 671,6 | 526,9 | -171,5 | -176,3 |
| c | 0,503 | 508,2 | 757,4 | 414,6 | -170,5 | -174,6 |
| c | 0,503 | 550,6 | 769,3 | 314,8 | -171,9 | -177,1 |
| v | 0,500 | 454,1 | 500,6 | 534,9 | -171,4 | -176,4 |
| v | 0,500 | 690,2 | 725,4 | 414,4 | -171,8 | -177,4 |
| v | 0,500 | 741,1 | 780,2 | 362,1 | -172,6 | -178,9 |
| v | 0,409 | 345,6 | 408,5 | 560,8 | -165,5 | -175,2 |
| v | 0,409 | 730,0 | 765,8 | 398,4 | -166,3 | -177,0 |
| v | 0,409 | 729,2 | 783,9 | 307,8 | -166,0 | -176,3 |
| c | 0,409 | 403,8 | 684,8 | 510,0 | -166,7 | -177,8 |
| c | 0,409 | 449,2 | 702,7 | 414,9 | -166,4 | -177,2 |
| c | 0,409 | 544,6 | 761,6 | 314,8 | -166,9 | -178,2 |