## LA-ICP-MS
NYS measurements
| 23Na | 24Mg | 31P | 39K | 42Ca | 64Zn
NYS_01
I (cps) | 1217878.8787 | 480074.8552 | 651430.5893 | 44506.3806 | 704583.3481 | 4644.3918 | mean measured cps
C | 6900 | 4400 | 124000 | 220 | 267000 | 85 | concentration according to NY certificate
C_H5 | 5554.8851 | 3836.7783 | 121707.5464 | 120.3179 | 245882.0361 | 73.3141 | concentration calculated with H5 sensitivities
rel error | -19.4944 | -12.8005 | -1.8488 | -45.31 | -7.9093 | -13.7481
Upper | 5925.8644 | 4028.8806 | 134305.1069 | 147.8787 | 260681.7614 | 82.066 | value obtained by lower limit of H5 sensitivity (95 % CI) = upper limit of concentration
Lower | 5227.6184 | 3662.1616 | 111270.5802 | 101.4165 | 232672.4857 | 66.2491 | value obtained by upper limit of H5 sensitivity (95 % CI) = lower limit of concentration
NYS_02
I (cps) | 1274704.6553 | 499372.9908 | 701195.3593 |  | 751159.0542 | 4355.4672
C | 6800 | 4200 | 120000 |  | 260000 | 80
C_H5 | 5814.074 | 3991.0098 | 131005.1572 |  | 262135.7973 | 68.7533
rel error | -14.4989 | -4.976 | 9.171 |  | 0.82146 | -14.0584
Upper | 6202.363 | 4190.8342 | 144565.0838 |  | 277913.8421 | 76.9607
Lower | 5471.5372 | 3809.3739 | 119770.8793 |  | 248053.0441 | 62.1278
NYS_03
I (cps) | 1244958.3468 | 484377.0725 | 660510.9443 |  | 718449.429 | 4699.4825
C | 6800 | 4200 | 122000 |  | 261000 | 79
C_H5 | 5678.3977 | 3871.1618 | 123404.0399 |  | 250720.953 | 74.1838
rel error | -16.4942 | -7.8295 | 1.1509 |  | -3.9383 | -6.0965
Upper | 6057.6256 | 4064.9856 | 136177.199 |  | 265811.9343 | 83.0394
Lower | 5343.8542 | 3694.9803 | 112821.5918 |  | 237251.4408 | 67.0349
NYS_04
I (cps) | 1099543.5995 | 426526.0162 | 608469.9807 | 39907.3632 | 645853.781 | 3753.0071
C | 6900 | 4300 | 125000 | 210 | 264000 | 81
C_H5 | 5015.1443 | 3408.8137 | 113681.1652 | 107.885 | 225386.8803 | 59.2432
rel error | -27.3167 | -20.7253 | -9.0551 | -48.6262 | -14.6262 | -26.8603
Upper | 5350.0774 | 3579.4884 | 125447.9405 | 132.5978 | 238952.995 | 66.3153
Lower | 4719.6765 | 3253.6743 | 103932.497 | 90.9368 | 213278.3936 | 53.5341

## µXRF
NYS measurements
| Ca | P | Zn
NYS_01
I (cps) | 2031.3 | 554.3 | 1.4 | mean measured cps
C | 267000 | 124000 | 85 | concentration according to NY certificate
C_H5 | 240501.071 | 136026.4376 | 53.9143 | concentration calculated with H5 sensitivities
rel error | -9.9247 | 9.6987 | -36.5714
Upper | 253047.6453 | 149869.8257 | 59.6408 | value obtained by lower limit of H5 sensitivity (95 % CI) = upper limit of concentration
Lower | 229139.888 | 124524.2094 | 49.1912 | value obtained by upper limit of H5 sensitivity (95 % CI) = lower limit of concentration
NYS_02
I (cps) | 2103.1 | 575.4 | 1.7
C | 260000 | 120000 | 80
C_H5 | 249002.0196 | 141204.424 | 65.4674
rel error | -4.23 | 17.6704 | -18.1658
Upper | 261992.0754 | 155574.7748 | 72.421
Lower | 237239.2549 | 129264.3515 | 59.7322
NYS_03
I (cps) | 1954 | 522.9 | 1.4
C | 261000 | 122000 | 79
C_H5 | 231348.9356 | 128320.8087 | 53.9143
rel error | -11.3606 | 5.181 | -31.754
Upper | 243418.0568 | 141379.9961 | 59.6408
Lower | 220420.0961 | 117470.1589 | 49.1912
NYS_04
I (cps) | 2255.3 | 612.8 | 1.6
C | 264000 | 125000 | 81
C_H5 | 267022.1363 | 150382.4661 | 61.6164
rel error | 1.1447 | 20.306 | -23.9304
Upper | 280952.2741 | 165686.8648 | 68.1609
Lower | 254408.1078 | 137666.3097 | 56.2185