## _xltb_storage_ (hidden)
XL Toolbox Settings
| export_preset | <?xml version="1.0" encoding="utf-16"?> <Preset xmlns:xsd="http://www.w3.org/2001/XMLSchema" xmlns:xsi="http://www.w3.org/2001/XMLSchema-instance"> <Name>Tiff, 600 dpi, RGB, White canvas</Name> <Dpi>600</Dpi> <FileType>Tiff</FileType> <ColorSpace>Rgb</ColorSpace> <Transparency>WhiteCanvas</Transparency> <UseColorProfile>false</UseColorProfile> <ColorProfile>Dell_XPS13_7390_UHD_SHARP_14A8</ColorProfile> </Preset>
| export_path | D:\MyFilesCF\Papers\2024 JAAS Linearity and Transport Eff\Hi Res Figures\Fig 1 16pt.tif

## Analog summary
Au particles |  | Detector | Sensitivity | Particle size (nm) | Particle mass (fg) | # detected particles | Avg. int. (counts) | Avg. int. (counts/s) | Meas. Time (min) | NP# TE | NP# TE used in plot | # particles % RSD | Intensity RSD | # particles % RSD | Notes
Data location |  | Analog | Normal | 60 | 2.1827 | 654.25 | 129.7224 | 1297223.6275 | 0.5 | 21.1% | 21.1% | 0.7546% | 2.2257
C:\Users\lomax-vogt.2\The Ohio State University\Nanoparticles NSF - General\Engineered NP measurements\Engineered Au NPs\2023 12 18 Au NPs reduced normal pulse analog\2023 12 18 |  | Analog | Normal | 80 | 5.1738 | 647 | 339.1374 | 3391374.0669 | 0.5 | 20.87% | 20.87% | 0.7981% | 16.0436
|  | Analog | Normal | 150 | 34.1049 | 655.3333 | 2654.6179 | 26546178.5041 | 0.5 | 21.14% | 21.14% | 1.333% | 43.071
Conditions |  | Analog | Normal | 200 | 80.8413 | 336.6667 | 6233.0501 | 62330500.5824 | 0.5 | 10.86% |  | 0.8517% | 221.0388 |  | Note from LC in sample prep: Portion of stock agglomerated to walls of original undiluted container
Uptake rate (mL/min) | 0.062 | Analog | Normal | 500 | 1263.1448 | 58.3333 | 133792609.0751 | 1.3379e+12 | 0.5 | 1.882% |  | 0% | 42227477.9121 |  | Detector saturation
NP susp. conc. (NP/mL) | 100000 | [5 empty] | 70.0121
|  | Detector | Sensitivity | Particle size (nm) | Particle mass (fg) | # detected particles | Avg. int. (counts) | Avg. int. (counts/s) | Meas. Time (min) | NP# TE | NP# TE used in plot | # particles % RSD | Intensity RSD
|  | Analog | Reduced | 60 | 2.1827 | 71 | 17.5408 | 175407.5374 | 0.5 | 2.29% |  | 4.225% | 37.3993 |  | Too close to threshold
|  | Analog | Reduced | 80 | 5.1738 | 446.6667 | 28.096 | 280960.2898 | 0.5 | 14.41% |  | 4.14% | 3.8802 |  | Too close to threshold
|  | Analog | Reduced | 150 | 34.1049 | 618.3333 | 186.5636 | 1865636.2658 | 0.5 | 19.95% |  | 3.92% | 14.9385
|  | Analog | Reduced | 200 | 80.8413 | 272.3333 | 496.307 | 4963069.836 | 0.5 | 8.785% |  | 3.289% | 15.8739 |  | Note from LC in sample prep: Portion of stock agglomerated to walls of container
|  | Analog | Reduced | 500 | 1263.1448 | 70 | 10271.5737 | 94663188.7147 | 0.5 | 2.258% |  | 7.143% | 39.2106
|  | Analog | Reduced | 1000 | 10105.1583 | 591.75 | 24634.7346 | 241250187.5286 | 1.6667 | 5.727% | 5.727% | 0.5988% | 916.5074
|  | Analog | Reduced | 1500 | 34104.9094 | 332.5 | 58311.4547 | 534905381.7656 | 1.6667 | 3.218% | 3.218% | 0.3048% | 957.7861
SiO2 particles |  | Detector | Sensitivity | Particle size (nm) | Particle mass (fg) | # detected particles | Avg. int. (counts) | Avg. int. (counts/s) | Meas. Time (min) | NP# TE | NP# TE used in plot | # particles % RSD | Intensity RSD
Data location |  | Analog | Normal | 480 | 115.8083 | 278 | 136.9591 | 136959.1073 | 0.5 | 8.968% |  | 68.8% | 82.0572 |  | Too close to threshold
C:\Users\lomax-vogt.2\The Ohio State University\Nanoparticles NSF - General\Engineered NP measurements\Engineered SiO2 NPs\2023 12 19 SiO2 normal and reduced sensitivity |  | Analog | Normal | 690 | 344.0037 | 388 | 540.4306 | 540430.6463 | 0.5 | 12.52% | 12.52% | 0.2991% | 6.958
|  | Analog | Normal | 730 | 407.3656 | 314.3333 | 753.043 | 753042.9644 | 0.5 | 10.14% | 10.14% | 0.185% | 6.6838
|  | Analog | Normal | 895 | 750.732 | 299.3333 | 1209.631 | 1209630.9584 | 0.5 | 9.656% | 9.656% | 0.1352% | 28.6539
|  | Analog | Normal | 990 | 1016.0648 | 142 | 1915.9028 | 1915902.7831 | 0.5 | 4.581% | 4.581% | 0.1844% | 4.1483
|  | Analog | Normal | 1050 | 1212.2263 | 305.3333 | 1722.4829 | 1722482.8844 | 0.5 | 9.849% |  | 3.19% | 12.5786 |  | Too high, problem with stock?
|  | Analog | Normal | 1570 | 4458 | 161.3333 | 6132.44 | 6132440.0194 | 0.5 | 5.204% | 5.204% | 0.09972% | 29.9951 |  |  | Figures used for JAAS paper
|  | Analog | Normal | 2060 | 9154.1383 | 154.6667 | 10732.1232 | 10732123.1504 | 0.5 | 4.989% | 4.989% | 0.2375% | 269.4841
|  | Analog | Normal | 3170 | 33357.5078 | 138.3333 | 27670.062 | 27670062.0259 | 0.5 | 4.462% | 4.462% | 0.1977% | 710.2302
|  | Detector | Sensitivity | Particle size (nm) | Particle mass (fg) | # detected particles | Avg. int. (counts) | Avg. int. (counts/s) | Meas. Time (min) | NP# TE | NP# TE used in plot | # particles % RSD | Intensity RSD
|  | Analog | Reduced | 480 | 115.8083 | 11 | 22.6404 | 22640.4296 | 0.5 | 0.3548% |  | 18.18% | 0.73022 |  | Too close to threshold
|  | Analog | Reduced | 690 | 344.0037 | 301.3333 | 35.9709 | 35970.8995 | 0.5 | 9.72% | 9.72% | 4.133% | 1.4278
|  | Analog | Reduced | 730 | 448 | 337 | 47.8848 | 47884.7841 | 0.5 | 10.87% | 10.87% | 3.217% | 1.6634
|  | Analog | Reduced | 895 | 750.732 | 330 | 74.4391 | 74439.0579 | 0.5 | 10.65% | 10.65% | 5.28% | 0.37626
|  | Analog | Reduced | 990 | 1016.0648 | 170.3333 | 109.244 | 109243.9795 | 0.5 | 5.495% | 5.495% | 3.835% | 0.68273
|  | Analog | Reduced | 1050 | 1212.2263 | 322.6667 | 103.7294 | 103729.3812 | 0.5 | 10.41% |  | 1.274% | 2.188 |  | Too high, problem with stock?
|  | Analog | Reduced | 1570 | 4458 | 182 | 370.1948 | 370194.8399 | 0.5 | 5.871% | 5.871% | 5.056% | 3.3783
|  | Analog | Reduced | 2060 | 9154.1383 | 169.3333 | 673.3011 | 673301.0688 | 0.5 | 5.462% | 5.462% | 12.03% | 8.4534
|  | Analog | Reduced | 3170 | 33357.5078 | 150.3333 | 1788.4028 | 1788402.7852 | 0.5 | 4.849% | 4.849% | 10.05% | 29.408
2023 09 30 data (uptake rate=27 uL/min)
|  | Detector | Sensitivity | Particle size (nm) | Particle mass (fg) | # detected particles | Avg. int. (counts) | Avg. int. (counts/s) | Meas. Time (min) | NP# TE | % RSD
|  | Analog | Normal | 60 | 2.1827 |  |  |  |  | 31.36% | 3.912%
|  | Analog | Normal | 100 | 10.1052 |  |  |  |  | 32.1% | 2.263%
|  | Analog | Normal | 200 | 80.8413 |  |  |  |  | 30% | 4.403%
|  | Analog | Normal | 480 | 115.8083 |  |  |  |  | 29.95% | 2.016%
|  | Analog | Normal | 730 | 448 |  |  |  |  | 28.39% | 1.824%
|  | Analog | Normal | 990 | 1016.0648 |  |  |  |  | 17.72% | 0.8605%
|  | Analog | Normal | 1570 | 4458 |  |  |  |  | 9.852% | 0.9134%
|  | Analog | Normal | 2060 | 9154.1383 |  |  |  |  | 7.569% | 0.3907%
|  | Analog | Normal | 3170 | 33357.5078 |  |  |  |  | 3.904% | 0.3729%
Polystyrene particles |  | 2023 09 30 data (uptake rate=27 uL/min)
|  | Analog | Sensitivity | Particle size (nm) | Particle mass (fg) | # detected particles | Avg. int. (counts) | Avg. int. (counts/s) | Meas. Time (min) | NP# TE | % RSD
|  | Polystyrene (C8H8)n | Normal | 2070 | 4876.2521 | 839.5 |  |  |  | 0.18656 | 0.8694%
|  | Polystyrene (C8H8)n | Normal | 5150 | 75092.5409 | 73 |  |  |  | 0.016222 | 0.06285%

## Pulse summary
Au particles |  | Detector | Sensitivity | Particle size (nm) | Particle mass (fg) | # detected particles | Avg. int. (counts) | Avg. int. (counts/s) | Meas. Time (min) | NP# TE | NP# TE used in plot | Notes | Detector | Sensitivity | Particle size (nm) | Particle mass (fg) | # detected particles | Avg. int. (counts) | Avg. int. (counts/s) | Meas. Time (s) | NP# TE
Data location |  | Analog | Normal | 60 | 2.1827 | 654.25 | 129.7224 | 1297223.6275 | 0.5 | 21.1% | 21.1% |  | Pulse | Normal | 60 | 2.1827 | 584.3333 | 129.7795 | 1297794.6311 | 0.5 | 18.85%
C:\Users\lomax-vogt.2\The Ohio State University\Nanoparticles NSF - General\Engineered NP measurements\Engineered Au NPs\2023 12 18 Au NPs reduced normal pulse analog\2023 12 18 |  | Analog | Normal | 80 | 5.1738 | 647 | 339.1374 | 3391374.0669 | 0.5 | 20.87% | 20.87% |  | Pulse | Normal | 80 | 5.1738 | 631.3333 | 260.6087 | 2606086.5095 | 0.5 | 20.37%
|  | Analog | Normal | 150 | 34.1049 | 655.3333 | 2654.6179 | 26546178.5041 | 0.5 | 21.14% | 21.14% |  | Pulse | Normal | 150 | 34.1049 | 645 | 2478.7479 | 24787479.0297 | 0.5 | 20.81%
Conditions |  | Analog | Normal | 200 | 80.8413 | 336.6667 | 6233.0501 | 62330500.5824 | 0.5 | 10.86% |  | Note from LC in sample prep: Portion of stock agglomerated to walls of container | Pulse | Normal | 200 | 80.8413 | 327.3333 | 134.1619 | 1341619.0868 | 0.5 | 10.56%
Uptake rate (mL/min) | 0.062 | Analog | Normal | 500 | 1263.1448 | 58.3333 | 133792609.0751 | 1.3379e+12 | 0.5 | 1.882% | 1.882% |  | Pulse | Normal | 500 | 1263.1448 | 67.6667 | 147.4699 | 1474699.2579 | 0.5 | 2.183%
NP susp. conc. (NP/mL) | 100000
|  | Detector | Sensitivity | Particle size (nm) | Particle mass (fg) | # detected particles | Avg. int. (counts) | Avg. int. (counts/s) | Meas. Time (min) | NP# TE | NP# TE used in plot |  | Detector | Sensitivity | Particle size (nm) | Particle mass (fg) | # detected particles | Avg. int. (counts) | Avg. int. (counts/s) | Meas. Time (s) | NP# TE
|  | Analog | Reduced | 60 | 2.1827 | 71 | 17.5408 | 175407.5374 | 0.5 | 2.29% |  | Too close to threshold | Pulse | Reduced | 60 | 2.1827 | 61 | 17.264 | 172640.3786 | 0.5 | 1.968%
|  | Analog | Reduced | 80 | 5.1738 | 446.6667 | 28.096 | 280960.2898 | 0.5 | 14.41% |  | Too close to threshold | Pulse | Reduced | 80 | 5.1738 | 480.3333 | 27.8666 | 278665.9816 | 0.5 | 15.49%
|  | Analog | Reduced | 150 | 34.1049 | 618.3333 | 186.5636 | 1865636.2658 | 0.5 | 19.95% | 19.95% |  | Pulse | Reduced | 150 | 34.1049 | 567.3333 | 188.4688 | 1884687.551 | 0.5 | 18.3%
|  | Analog | Reduced | 200 | 80.8413 | 272.3333 | 496.307 | 4963069.836 | 0.5 | 8.785% |  | Note from LC in sample prep: Portion of stock agglomerated to walls of container | Pulse | Reduced | 200 | 80.8413 | 315 | 239.2729 | 2392728.898 | 0.5 | 10.16%
|  | Analog | Reduced | 500 | 1263.1448 | 75.3333 | 9466.3189 | 94663188.7147 | 0.5 | 2.43% | 2.43% |  | Pulse | Reduced | 500 | 1263.1448 | 49.6667 | 96.8694 | 968694.3916 | 0.5 | 1.602% | Pulse saturation
|  | Analog | Reduced | 1000 | 10105.1583 | 264.8889 | 24125.0188 | 241250187.5286 | 1.6667 | 2.563% | 2.563%
|  | Analog | Reduced | 1500 | 34104.9094 | 241.5556 | 53490.5382 | 534905381.7656 | 1.6667 | 2.338% | 2.338%
SiO2 particles |  | Detector | Sensitivity | Particle size (nm) | Particle mass (fg) | # detected particles | Avg. int. (counts) | Avg. int. (counts/s) | Meas. Time (min) | NP# TE | NP# TE used in plot
Data location |  | Analog | Normal | 480 | 115.8083 | 278 | 136.9591 | 136959.1073 | 0.5 | 8.968% |  | Too close to threshold
C:\Users\lomax-vogt.2\The Ohio State University\Nanoparticles NSF - General\Engineered NP measurements\Engineered SiO2 NPs\2023 12 19 SiO2 normal and reduced sensitivity |  | Analog | Normal | 690 | 344.0037 | 388 | 540.4306 | 540430.6463 | 0.5 | 12.52% | 12.52%
|  | Analog | Normal | 730 | 407.3656 | 314.3333 | 753.043 | 753042.9644 | 0.5 | 10.14% | 10.14%
|  | Analog | Normal | 895 | 750.732 | 299.3333 | 1209.631 | 1209630.9584 | 0.5 | 9.656% | 9.656%
|  | Analog | Normal | 990 | 1016.0648 | 142 | 1915.9028 | 1915902.7831 | 0.5 | 4.581% | 4.581%
|  | Analog | Normal | 1050 | 1212.2263 | 305.3333 | 1722.4829 | 1722482.8844 | 0.5 | 9.849% |  | Too high, problem with stock?
|  | Analog | Normal | 1570 | 4052.423 | 161.3333 | 6132.44 | 6132440.0194 | 0.5 | 5.204% | 5.204%
|  | Analog | Normal | 2060 | 9154.1383 | 154.6667 | 10732.1232 | 10732123.1504 | 0.5 | 4.989% | 4.989%
|  | Analog | Normal | 3170 | 33357.5078 | 138.3333 | 27670.062 | 27670062.0259 | 0.5 | 4.462% | 4.462%
|  | Detector | Sensitivity | Particle size (nm) | Particle mass (fg) | # detected particles | Avg. int. (counts) | Avg. int. (counts/s) | Meas. Time (min) | NP# TE
|  | Analog | Normal | 480 | 115.8083 | 11 | 22.6404 | 22640.4296 | 0.5 | 0.3548% |  | Too close to threshold
|  | Analog | Normal | 690 | 344.0037 | 301.3333 | 35.9709 | 35970.8995 | 0.5 | 9.72% | 9.72%
|  | Analog | Normal | 730 | 407.3656 | 337 | 47.8848 | 47884.7841 | 0.5 | 10.87% | 10.87%
|  | Analog | Normal | 895 | 750.732 | 330 | 74.4391 | 74439.0579 | 0.5 | 10.65% | 10.65%
|  | Analog | Normal | 990 | 1016.0648 | 170.3333 | 109.244 | 109243.9795 | 0.5 | 5.495% | 5.495%
|  | Analog | Normal | 1050 | 1212.2263 | 322.6667 | 103.7294 | 103729.3812 | 0.5 | 10.41% |  | Too high, problem with stock?
|  | Analog | Normal | 1570 | 4052.423 | 182 | 370.1948 | 370194.8399 | 0.5 | 5.871% | 5.871%
|  | Analog | Normal | 2060 | 9154.1383 | 169.3333 | 673.3011 | 673301.0688 | 0.5 | 5.462% | 5.462%
|  | Analog | Normal | 3170 | 33357.5078 | 150.3333 | 1788.4028 | 1788402.7852 | 0.5 | 4.849% | 4.849%
2023 09 30 data (uptake rate=27 uL/min)
|  | Detector | Sensitivity | Particle size (nm) | Particle mass (fg) | # detected particles | Avg. int. (counts) | Avg. int. (counts/s) | Meas. Time (min) | NP# TE
|  | Analog | Normal | 60 | 2.1827 |  |  |  |  | 31.36%
|  | Analog | Normal | 100 | 10.1052 |  |  |  |  | 32.1%
|  | Analog | Normal | 200 | 80.8413 |  |  |  |  | 30%
|  | Analog | Normal | 480 | 115.8083 |  |  |  |  | 29.95%
|  | Analog | Normal | 730 | 407.3656 |  |  |  |  | 28.39%
|  | Analog | Normal | 990 | 1016.0648 |  |  |  |  | 17.72%
|  | Analog | Normal | 1570 | 4052.423 |  |  |  |  | 9.852%
|  | Analog | Normal | 2060 | 9154.1383 |  |  |  |  | 7.569%
|  | Analog | Normal | 3170 | 33357.5078 |  |  |  |  | 3.904%

## Au Matlab stats
stats | Detector | Sensitivity | # particles | Avg. int. | Bkgd | Threshold | # particles %RSD | Avg. int. %RSD
100 nm Au | Analog | Reduced | 138 | 67.6063 | 0.0013658 | 2.8645
100 nm Au | Analog | Reduced | 139 | 76.1823 | 0.001319 | 2.8611
100 nm Au | Analog | Reduced | 151 | 75.4427 | 0.0012591 | 2.8555
|  |  | 142.6667 | 73.0771 |  |  | 4.14% | 3.8802
100 nm Au | Pulse | Reduced | 168 | 60.9828 | 0.0014998 | 2.8739
100 nm Au | Pulse | Reduced | 150 | 67.0878 | 0.0014026 | 2.8649
100 nm Au | Pulse | Reduced | 141 | 72.4387 | 0.0012924 | 2.859
|  |  | 153 | 66.8364 |  |  | 7.337% | 4.6803
100 nm Au | Pulse | Normal | 147 | 191.6175 | 0.010978 | 3.1156
100 nm Au | Pulse | Normal | 157 | 209.7093 | 0.0062352 | 3.0336
100 nm Au | Pulse | Normal | 131 | 222.5027 | 0.0062372 | 3.0251
|  |  | 145 | 207.9432 |  |  | 7.385% | 12.6705
100 nm Au | Analog | Normal | 140 | 906.7986 | 0.010516 | 3.1153
100 nm Au | Analog | Normal | 143 | 945.5845 | 0.0062892 | 3.0267
100 nm Au | Analog | Normal | 153 | 920.7118 | 0.0063378 | 3.0295
|  |  | 145.3333 | 924.365 |  |  | 3.824% | 16.0436
1000 nm Au | Analog | Reduced |  |  | 0.0022161 | 2.904 |  |  | 100s measurement time |  | 448 | 25538.182
1000 nm Au | Analog | Reduced |  |  | 0.001146 | 2.8433 |  |  | 100s measurement time |  | 120 | 19954.0453
1000 nm Au | Analog | Reduced | 568 | 23495.5997 | 0.0014669 | 2.8617 |  |  | 100s measurement time
1000 nm Au | Analog | Reduced | 506 | 24603.761 | 0.0014122 | 2.8585 |  |  | 100s measurement time
1000 nm Au | Analog | Reduced | 673 | 26049.4811 | 0.0015371 | 2.8664 |  |  | 100s measurement time
1000 nm Au | Analog | Reduced |  |  | 0.001657 | 2.8731 |  |  | 100s measurement time |  | 713 | 25360.7848
1000 nm Au | Analog | Reduced |  |  | 0.0013802 | 2.8559 |  |  | 100s measurement time |  | 400 | 23309.6153
1000 nm Au | Analog | Reduced | 620 | 24390.0964 | 0.0014623 | 2.8626 |  |  | 100s measurement time
1000 nm Au | Analog | Reduced |  |  | 0.0013403 | 2.8545 |  |  | 100s measurement time |  | 136 | 24423.6033
|  |  | 591.75 | 24634.7346 |  |  | 10.46% | 916.5074
1000 nm Au | Pulse | Reduced | 133 | 93.4541 | 0.0012012 | 2.8506 |  |  | 100s measurement time
1000 nm Au | Pulse | Reduced | 155 | 89.4664 | 0.0013718 | 2.8577 |  |  | 100s measurement time
1000 nm Au | Pulse | Reduced | 163 | 93.9497 | 0.0013385 | 2.8525 |  |  | 100s measurement time
|  |  | 150.3333 | 92.2901 |  |  | 8.437% | 2.0068
150 nm Au | Analog | Normal | 603 | 2596.6572 | 0.012204 | 3.1954
150 nm Au | Analog | Normal | 659 | 2667.3781 | 0.013537 | 3.2293
150 nm Au | Analog | Normal | 704 | 2699.8183 | 0.013883 | 3.2327
|  |  | 655.3333 | 2654.6179 |  |  | 6.304% | 43.071
150 nm Au | Analog | Reduced | 651 | 166.2791 | 0.0056187 | 3.0686
150 nm Au | Analog | Reduced | 611 | 191.593 | 0.0052818 | 3.0558
150 nm Au | Analog | Reduced | 593 | 201.8188 | 0.0049227 | 3.0445
|  |  | 618.3333 | 186.5636 |  |  | 3.92% | 14.9385
150 nm Au | Pulse | Normal | 655 | 2420.6617 | 0.012311 | 3.2078
150 nm Au | Pulse | Normal | 637 | 2491.2765 | 0.012556 | 3.207
150 nm Au | Pulse | Normal | 643 | 2524.3056 | 0.011951 | 3.1889
|  |  | 645 | 2478.7479 |  |  | 1.16% | 43.2299
150 nm Au | Pulse | Reduced | 581 | 181.93 | 0.0049773 | 3.0462
150 nm Au | Pulse | Reduced | 547 | 191.8935 | 0.0048229 | 3.0367
150 nm Au | Pulse | Reduced | 574 | 191.5827 | 0.0046995 | 3.0341
|  |  | 567.3333 | 188.4688 |  |  | 2.584% | 4.6253
1500 nm Au | analog | reduced |  |  | 0.0017961 | 2.8743 |  |  | 100s measurement time |  |  | 484 | 58393.2055
1500 nm Au | analog | reduced |  |  | 0.001164 | 2.8414 |  |  | 100s measurement time |  |  | 151 | 59192.126
1500 nm Au | analog | reduced | 364 | 59269.2409 | 0.001379 | 2.8544 |  |  | 100s measurement time
1500 nm Au | analog | reduced |  |  | 0.0016409 | 2.869 |  |  | 100s measurement time |  |  | 510 | 59751.2109
1500 nm Au | analog | reduced |  |  | 0.0010798 | 2.8363 |  |  | 100s measurement time |  |  | 120 | 51926.3631
1500 nm Au | analog | reduced | 301 | 57353.6686 | 0.0012192 | 2.8454 |  |  | 100s measurement time
1500 nm Au | analog | reduced |  |  | 0.0010034 | 2.8308 |  |  | 100s measurement time |  |  | 64 | 49498.7104
1500 nm Au | analog | reduced |  |  | 0.0010968 | 2.838 |  |  | 100s measurement time |  |  | 132 | 50360.1573
1500 nm Au | analog | reduced |  |  | 0.0010143 | 2.8316 |  |  | 100s measurement time |  |  | 48 | 35670.1609
|  |  | 332.5 | 58311.4547 |  |  | 9.474% | 957.7861
200 nm Au | Analog | Normal | 333 | 6203.4413 | 0.0075391 | 3.0742
200 nm Au | Analog | Normal | 337 | 5978.3554 | 0.0083278 | 3.0963
200 nm Au | Analog | Normal | 340 | 6517.3534 | 0.0086479 | 3.1007
|  |  | 336.6667 | 6233.0501 |  |  | 0.8517% | 221.0388
200 nm Au | Analog | Reduced | 260 | 478.5691 | 0.0016238 | 2.8751
200 nm Au | Analog | Reduced | 281 | 493.2597 | 0.001517 | 2.8712
200 nm Au | Analog | Reduced | 276 | 517.0921 | 0.001688 | 2.8791
|  |  | 272.3333 | 496.307 |  |  | 3.289% | 15.8739
200 nm Au | Pulse | Normal | 313 | 133.2016 | 0.0080794 | 3.0818
200 nm Au | Pulse | Normal | 327 | 135.8357 | 0.0079238 | 3.0816
200 nm Au | Pulse | Normal | 342 | 133.4484 | 0.0087766 | 3.0975
|  |  | 327.3333 | 134.1619 |  |  | 3.618% | 1.1878
200 nm Au | Pulse | Reduced | 292 | 235.8553 | 0.0016402 | 2.8828
200 nm Au | Pulse | Reduced | 352 | 242.2468 | 0.002165 | 2.9073
200 nm Au | Pulse | Reduced | 301 | 239.7166 | 0.0019854 | 2.8973
|  |  | 315 | 239.2729 |  |  | 8.387% | 2.6281
500 nm Au | Analog | Normal | 54 | 109214010.7331 | 0.0078373 | 3.0404
500 nm Au | Analog | Normal |  |  | 0.0084437 | 3.0561 |  |  | 60 | 98494849.935
500 nm Au | Analog | Normal | 61 | 193668966.5573 | 0.0087477 | 3.062
|  |  | 57.5 | 151441488.6452 |  |  | 6.087% | 42227477.9121
500 nm Au | Analog | Reduced |  |  | 0.00089812 | 2.8319 |  |  | 86 | 7855.8093
500 nm Au | Analog | Reduced | 75 | 10232.3631 | 0.00096137 | 2.8327
500 nm Au | Analog | Reduced | 65 | 10310.7842 | 0.0010313 | 2.8374
|  |  | 70 | 10271.5737 |  |  | 7.143% | 39.2106
500 nm Au | Pulse | Normal | 57 | 142.6577 | 0.0069135 | 3.0226
500 nm Au | Pulse | Normal | 64 | 152.5055 | 0.0077916 | 3.0407
500 nm Au | Pulse | Normal | 82 | 147.2466 | 0.0081066 | 3.0464
|  |  | 67.6667 | 147.4699 |  |  | 15.56% | 4.0234
500 nm Au | Pulse | Reduced | 46 | 98.3397 | 0.00078364 | 2.8232
500 nm Au | Pulse | Reduced | 57 | 96.9301 | 0.0009738 | 2.832
500 nm Au | Pulse | Reduced | 46 | 95.3385 | 0.001574 | 2.8606
|  |  | 49.6667 | 96.8694 |  |  | 10.44% | 1.226
60 nm Au | Analog | Reduced check | 68 | 16.9244 | 0.0085276 | 3.1615
60 nm Au | Analog | Reduced check | 74 | 18.1571 | 0.0077362 | 3.1379
|  |  | 71 | 17.5408 |  |  | 4.225% | 37.3993
60 nm Au | Pulse | Reduced | 59 | 17.8835 | 0.0083426 | 3.1486
60 nm Au | Pulse | Reduced | 60 | 16.8347 | 0.0091162 | 3.1716
60 nm Au | Pulse | Reduced | 64 | 17.074 | 0.0091012 | 3.1702
|  |  | 61 | 17.264 |  |  | 3.541% | 0.44876
60 nm Au | Pulse | Normal | 583 | 127.7376 | 0.010219 | 3.1639
60 nm Au | Pulse | Normal | 591 | 129.8873 | 0.0097712 | 3.146
60 nm Au | Pulse | Normal | 579 | 131.7134 | 0.01049 | 3.1651
|  |  | 584.3333 | 129.7795 |  |  | 0.8538% | 1.6249
60 nm Au | Analog | Normal | 692 | 130.5294 | 0.013994 | 3.2262
60 nm Au | Analog | Normal | 654 | 127.7829 | 0.013247 | 3.2155
60 nm Au | Analog | Normal | 630 | 127.5719 | 0.012743 | 3.2035
60 nm Au | Analog | Normal | 641 | 133.0052 | 0.013841 | 3.2202
|  |  | 654.25 | 129.7224 |  |  | 3.575% | 2.2257
60 nm Au | Analog |  | 2099 | 138.6089 | 0.013524 | 3.2103 | 100 s
80 nm Au | Analog | Reduced | 409 | 26.0006 | 0.0093024 | 3.1703
80 nm Au | Analog | Reduced | 463 | 28.439 | 0.0092393 | 3.1733
80 nm Au | Analog | Reduced | 468 | 29.8485 | 0.010716 | 3.2036
|  |  | 446.6667 | 28.096
80 nm Au | Pulse | Reduced | 426 | 26.3956 | 0.010285 | 3.2035
80 nm Au | Pulse | Reduced | 505 | 29.1157 | 0.010435 | 3.2067
80 nm Au | Pulse | Reduced | 510 | 28.0885 | 0.0088595 | 3.1666
|  |  | 480.3333 | 27.8666
80nm Au | Analog | Normal | 729 | 328.883 | 0.017999 | 3.2802
80nm Au | Analog | Normal | 740 | 343.8387 | 0.017032 | 3.2727
80nm Au | Analog | Normal | 772 | 344.6905 | 0.017125 | 3.2743
|  |  | 747 | 339.1374
80nm Au | Pulse | Normal | 738 | 257.0595 | 0.016421 | 3.2659
80nm Au | Pulse | Normal | 748 | 265.6866 | 0.017337 | 3.2794
80nm Au | Pulse | Normal | 708 | 259.0798 | 0.017111 | 3.2704
|  |  | 731.3333 | 260.6087
730 nm SiO2 | Dual | Normal | 257 | 625.576 | 2.871 | 11.6797
730 nm SiO2 | Dual | Normal | 237 | 641.7964 | 2.9043 | 11.7466
730 nm SiO2 | Dual | Normal | 247 | 671.8522 | 2.9925 | 11.8699
730 nm SiO2 | Pulse | Normal | 198 | 158.1826 | 2.9542 | 11.8041
730 nm SiO2 | Pulse | Normal | 207 | 167.363 | 3.0116 | 11.9389
730 nm SiO2 | Pulse | Normal | 216 | 172.409 | 3.0305 | 11.9698

## SiO2 Matlab stats
stats_column1 | summaryArray_stats_1 | summaryArray_stats_2 |  | Std dev | Bkgd (counts) | Threshold (counts) | NP | # particles | Average intensity (counts) | Std dev
480 nm Si_Analog_Normal | 399 | 191.6327 |  |  | 5.8027 | 17.3725 | 480 | 403 | 195.7465 | 0.045122 | 2.9336
480 nm Si_Analog_Normal_1 | 383 | 197.338 |  |  | 5.8511 | 17.4714 | 690 | 388 | 540.4306 | 0.023901 | 6.958
480 nm Si_Analog_Normal_2 | 427 | 198.2686 |  |  | 5.9321 | 17.6041 | 730 | 314.3333 | 753.043 | 0.018245 | 6.6838
| 403 | 195.7465 | 4.512% | 2.9336 |  |  | 895 | 299.3333 | 1209.631 | 0.013998 | 28.6539
690 nm Si_Analog _Normal | 380 | 531.2058 |  |  | 6.0668 | 17.8443 | 990 | 142 | 1915.9028 | 0.04025 | 4.1483
690 nm Si_Analog _Normal_1 | 383 | 542.0771 |  |  | 6.1809 | 18.0577 | 1050 | 305.3333 | 1722.4829 | 0.031903 | 12.5786
690 nm Si_Analog _Normal_2 | 401 | 548.009 |  |  | 6.1993 | 18.0677 | 1570 | 161.3333 | 6132.44 | 0.01916 | 29.9951
| 388 | 540.4306 | 2.39% | 6.958 |  |  | 2060 | 154.6667 | 10732.1232 | 0.047609 | 269.4841
730 nm Si_Analog _Normal | 321 | 747.8859 |  |  | 6.0376 | 17.8214 | 3170 | 138.3333 | 27670.062 | 0.044301 | 710.2302
730 nm Si_Analog _Normal_1 | 307 | 748.7612 |  |  | 6.2161 | 18.1196
730 nm Si_Analog _Normal_2 | 315 | 762.4817 |  |  | 6.2324 | 18.124
| 314.3333 | 753.043 | 1.824% | 6.6838
895 nm Si_Analog _Normal | 298 | 1172.3155 |  |  | 6.0814 | 17.8683
895 nm Si_Analog _Normal_1 | 305 | 1241.9721 |  |  | 6.1988 | 18.0972
895 nm Si_Analog _Normal_2 | 295 | 1214.6052 |  |  | 6.2382 | 18.1408
| 299.3333 | 1209.631 | 1.4% | 28.6539
990 nm Si_Analog _Normal | 145 | 1921.7666 |  |  | 5.8254 | 17.3421
990 nm Si_Analog _Normal_1 | 147 | 1913.1275 |  |  | 5.9155 | 17.5349
990 nm Si_Analog _Normal_2 | 134 | 1912.8143 |  |  | 5.9176 | 17.5397
| 142 | 1915.9028 | 4.025% | 4.1483
1050 nm Si_Analog _Normal | 297 | 1709.4285 |  |  | 5.5454 | 16.8945
1050 nm Si_Analog _Normal_1 | 319 | 1739.4752 |  |  | 5.7044 | 17.1735
1050 nm Si_Analog _Normal_2 | 300 | 1718.5449 |  |  | 5.7264 | 17.2642
| 305.3333 | 1722.4829 | 3.19% | 12.5786
1570 nm Si_Analog _Normal | 157 | 6122.9143 |  |  | 5.4932 | 16.7411
1570 nm Si_Analog _Normal_1 | 163 | 6101.4048 |  |  | 5.5683 | 16.879
1570 nm Si_Analog _Normal_2 | 164 | 6173.001 |  |  | 5.5514 | 16.8447
| 161.3333 | 6132.44 | 1.916% | 29.9951
2060 nm Si_Analog _Normal | 154 | 10413.6603 |  |  | 5.3741 | 16.5137
2060 nm Si_Analog _Normal_1 | 146 | 11072.6515 |  |  | 5.4651 | 16.687
2060 nm Si_Analog _Normal_2 | 164 | 10710.0577 |  |  | 5.4874 | 16.7499
| 154.6667 | 10732.1232 | 4.761% | 269.4841
3170 nm Si_Analog _Normal | 131 | 27957.0961 |  |  | 5.3524 | 16.5793
3170 nm Si_Analog _Normal_1 | 138 | 26692.969 |  |  | 5.357 | 16.5742
3170 nm Si_Analog _Normal_2 | 146 | 28360.121 |  |  | 5.3775 | 16.6289
| 138.3333 | 27670.062 | 4.43% | 710.2302
60 nm Au_Analog_Normal | 669 | 136.7928 | 0.014834 | 3.2356
80 nm Au_Analog_Normal | 749 | 356.0552 | 0.045195 | 3.5735
80 nm Au_Analog_Normal_1 | 780 | 361.0466 | 0.027464 | 3.3949
80 nm Au_Analog_Normal_2 | 763 | 372.6975 | 0.029446 | 3.4154

## Sort
Detector | Sensitivity | Particle size (nm) | Particle mass (fg) | # detected particles | Avg. int. (counts) | Avg. int. (counts/s) | # particle % RSD | Intensity RSD |  | Au density | 19.3 | g/cm3
Analog | Normal | 60 | 2.1827 | 654.25 | 129.7224 | 1297223.6275 | 3.575% | 2.2257
Pulse | Normal | 60 | 2.1827 | 584.3333 | 129.7795 | 1297794.6311 | 0.8538% | 1.6249
Analog | Reduced | 60 | 2.1827 | 71 | 17.5408 | 175407.5374 | 4.225% | 37.3993
Pulse | Reduced | 60 | 2.1827 | 61 | 17.264 | 172640.3786 | 3.541% | 0.44876
Analog | Normal | 80 | 5.1738 | 747 | 339.1374 | 3391374.0669 | 0% | 0
Pulse | Normal | 80 | 5.1738 | 731.3333 | 260.6087 | 2606086.5095 | 0% | 0
Analog | Reduced | 80 | 5.1738 | 446.6667 | 28.096 | 280960.2898 | 0% | 0
Pulse | Reduced | 80 | 5.1738 | 480.3333 | 27.8666 | 278665.9816 | 0% | 0
Analog | Normal | 100 | 10.1052 | 145.3333 | 924.365 | 9243649.8673 | 3.824% | 16.0436
Pulse | Normal | 100 | 10.1052 | 145 | 207.9432 | 2079431.8384 | 7.385% | 12.6705
Analog | Reduced | 100 | 10.1052 | 142.6667 | 73.0771 | 730771.2523 | 4.14% | 3.8802
Pulse | Reduced | 100 | 10.1052 | 153 | 66.8364 | 668364.0546 | 7.337% | 4.6803
Analog | Normal | 150 | 34.1049 | 655.3333 | 2654.6179 | 26546178.5041 | 6.304% | 43.071
Pulse | Normal | 150 | 34.1049 | 645 | 2478.7479 | 24787479.0297 | 1.16% | 43.2299
Analog | Reduced | 150 | 34.1049 | 618.3333 | 186.5636 | 1865636.2658 | 3.92% | 14.9385
Pulse | Reduced | 150 | 34.1049 | 567.3333 | 188.4688 | 1884687.551 | 2.584% | 4.6253
Analog | Normal | 200 | 80.8413 | 336.6667 | 6233.0501 | 62330500.5824 | 0.8517% | 221.0388
Pulse | Normal | 200 | 80.8413 | 327.3333 | 134.1619 | 1341619.0868 | 3.618% | 1.1878
Analog | Reduced | 200 | 80.8413 | 272.3333 | 496.307 | 4963069.836 | 3.289% | 15.8739
Pulse | Reduced | 200 | 80.8413 | 315 | 239.2729 | 2392728.898 | 8.387% | 2.6281
Analog | Normal | 500 | 1263.1448 | 57.5 | 151441488.6452 | 1.5144e+12 | 6.087% | 42227477.9121
Pulse | Normal | 500 | 1263.1448 | 67.6667 | 147.4699 | 1474699.2579 | 15.56% | 4.0234
Analog | Reduced | 500 | 1263.1448 | 70 | 10271.5737 | 102715736.6464 | 7.143% | 39.2106
Pulse | Reduced | 500 | 1263.1448 | 49.6667 | 96.8694 | 968694.3916 | 10.44% | 1.226
Analog | Reduced | 1000 | 10105.1583 | 591.75 | 24634.7346 | 246347345.5843 | 10.46% | 916.5074 | 100 s meas time
Analog | Reduced | 1500 | 34104.9094 | 332.5 | 58311.4547 | 583114547.4434 | 9.474% | 957.7861 | 100 s meas time

## Sheet2
Detector | Sensitivity | Particle size (nm) | Particle mass (fg) | # detected particles | Avg. int. (counts) | Avg. int. (counts/s) | # particle % RSD | Intensity RSD
Analog | Normal | 60 | 2.1827 | 654.25 | 129.7224 | 1297223.6275 | 3.575% | 2.2257
Analog | Normal | 100 | 10.1052 | 145.3333 | 924.365 | 9243649.8673 | 3.824% | 16.0436
Analog | Normal | 150 | 34.1049 | 655.3333 | 2654.6179 | 26546178.5041 | 6.304% | 43.071
Analog | Normal | 200 | 80.8413 | 336.6667 | 6233.0501 | 62330500.5824 | 0.8517% | 221.0388
Analog | Normal | 500 | 1263.1448 | 58.3333 | 133792609.0751 | 1.3379e+12 | 5.299% | 42227477.9121
Detector | Sensitivity | Particle size (nm) | Particle mass (fg) | # detected particles | Avg. int. (counts) | Avg. int. (counts/s) | # particle % RSD | Intensity RSD
Analog | Reduced | 60 | 2.1827 | 71 | 17.5408 | 175407.5374 | 4.225% | 37.3993
Analog | Reduced | 100 | 10.1052 | 142.6667 | 73.0771 | 730771.2523 | 4.14% | 3.8802
Analog | Reduced | 150 | 34.1049 | 618.3333 | 186.5636 | 1865636.2658 | 3.92% | 14.9385
Analog | Reduced | 200 | 80.8413 | 272.3333 | 496.307 | 4963069.836 | 3.289% | 15.8739
Analog | Reduced | 500 | 1263.1448 | 75.3333 | 9466.3189 | 94663188.7147 | 11.38% | 1139.2522
Analog | Reduced | 1000 | 10105.1583 | 464.8889 | 24125.0188 | 241250187.5286 | 43.78% | 1702.1029
Analog | Reduced | 1500 | 34104.9094 | 241.5556 | 53490.5382 | 534905381.7656 | 69.46% | 7377.1714
Detector | Sensitivity | Particle size (nm) | Particle mass (fg) | # detected particles | Avg. int. (counts) | Avg. int. (counts/s) | # particle % RSD | Intensity RSD
Pulse | Normal | 60 | 2.1827 | 584.3333 | 129.7795 | 1297794.6311 | 0.8538% | 1.6249
Pulse | Reduced | 60 | 2.1827 | 61 | 17.264 | 172640.3786 | 3.541% | 0.44876
Pulse | Normal | 100 | 10.1052 | 145 | 207.9432 | 2079431.8384 | 7.385% | 12.6705
Pulse | Reduced | 100 | 10.1052 | 153 | 66.8364 | 668364.0546 | 7.337% | 4.6803
Pulse | Normal | 150 | 34.1049 | 645 | 2478.7479 | 24787479.0297 | 1.16% | 43.2299
Pulse | Reduced | 150 | 34.1049 | 567.3333 | 188.4688 | 1884687.551 | 2.584% | 4.6253
Pulse | Normal | 200 | 80.8413 | 327.3333 | 134.1619 | 1341619.0868 | 3.618% | 1.1878
Pulse | Reduced | 200 | 80.8413 | 315 | 239.2729 | 2392728.898 | 8.387% | 2.6281
Pulse | Normal | 500 | 1263.1448 | 67.6667 | 147.4699 | 1474699.2579 | 15.56% | 4.0234
Pulse | Reduced | 500 | 1263.1448 | 49.6667 | 96.8694 | 968694.3916 | 10.44% | 1.226