Supporting Information for

On-chip colorimetric assay for determining serum lithium concentration from whole blood

Carl Olsson,a Janosch Hauser,a Federico Ribet,a Fredrik Wikström,b,c,d André Görgens,e,f,g Olof Beck,h 
Martin Schalling,b,d Lena Backlund,b,d and Niclas Roxhed †a,i

a. Micro and Nanosystems, School of Electrical Engineering and Computer Science, KTH Royal Institute of Technology, Stockholm, Sweden.

b. Department of Molecular Medicine and Surgery, Karolinska Institutet, Stockholm, Sweden.

c. Psychiatry Southwest, Stockholm Healthcare Services, Stockholm, Sweden.

d. Centre for Molecular Medicine, Karolinska University Hospital, Stockholm, Sweden.

e. Division of Biomolecular and Cellular Medicine, Department of Laboratory Medicine, Karolinska Institutet, Stockholm, Sweden

f. Department of Cellular Therapy and Allogeneic Stem Cell Transplantation (CAST), Karolinska University Hospital, Huddinge, Sweden

g. Karolinska ATMP Center, ANA Futura, Huddinge, Sweden

h. Department of Clinical Neuroscience, Karolinska Institutet, Stockholm, Sweden.

i. MedTechLabs, BioClinicum, Karolinska University Hospital, Solna, Sweden.

† Corresponding author: roxhed@kth.se

Fig S1. Evaporation of the reagent with readout chamber dimensions and the porous membrane over 15 minutes (n = 7). Average evaporation rate 0.23 µL/minute, Standard deviation 0.03 µL/minute (21 % humidity, room temperature).

Fig S2. Images of reagent in the readout chamber over 20 minutes. Once the readout chamber is filled, any reagent loss inside the chamber would cause bubbles to form.  The lack of bubbles show that the volume in the readout chamber is constant over time.

Fig S3. Reagent absorption at 546 nm – 600 nm over 12 minutes after lithium addition to evaluate the stability of the reagent over time. With the readout time (10 min) marked.