Table S1 Temperature program for coating of modifiers

| Step | Temperature/C | Ramp/s | Hold/s | Ar flow rate/ml min-1 |
| --- | --- | --- | --- | --- |
| 1 | 60-130 | 20 | 10 | 250 |
| 2 | 130-600 | 15 | 10 | 250 |
| 3 | 600-1000 | 15 | 10 | 250 |
| 4 | 1000-1500 | 15 | 10 | 250 |
| 5 | 1500- 2000 | 15 | 10 | 250 |

Fig. S1 Optimization of masses and mass ratios of permanent modifiers by delivering 20 µl of (A) 2.5 µg l-1 of Cd aqueous solution and coal fly ash (Cd content 2.05 ± 0.01 µg l-1) and (B) 50 µg l-1 of Pb aqueous solution, and Estuarine sediment (Pb content 40.0 ± 4.1 µg l-1) into the platform. ◇, Zr;∆, W; □, Ru;—▲—, Zr-W; , Zr-Ru; , Zr-Ru' (coal fly ash); ∘,Zr-W' (Estuarine sediment). Zirconium mass was fixed in 240 µg for Zr-W and Zr-Ru modifier mixtures.

Fig. S2 Cadmium peak profiles for delivering 20.0 µl of Bovine liver (Cd content 53.2 ± 3.2 pg) into the platforms coated with Zr, Zr-W or Zr-Ru, respectively, ( Atomization; --- Background).